## Sheet1
URL
https://www.thermofisher.com/order/catalog/product/NP00061?SID=srch-srp-NP00061
https://www.qa.thermofisher.com/order/catalog/product/NP00061?SID=srch-srp-NP00061
https://qa3.fishersci.com/us/en/customer-help-support.html?cid=OBC_INT_20200507_XTD27A

## Sheet2
Question | SKU | Expected Answer
Concentration | NP0006 | Concentration of NP0006 The concentration of NP0006 is 20X. Additional Data & References 1. Western Blot Protocols and Recipes 2. NuPAGE Technical Guide (Page: 8, 48, 56) 3. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 4. Western Blot Sample Preparation Protocol 5. NuPAGE Large Protein Analysis System (Page: 6, 31)
Is this available for purchase? | NP0006 | Yes, NP0006 (NuPAGE™ Transfer Buffer (20X)) is available for purchase and is currently in stock. i
What buffer for this product? | NP0006 | Buffer Used for NP0006 NP0006 (NuPAGE Transfer Buffer) is used to transfer proteins from NuPAGE Bis-Tris and NuPAGE Tris-Acetate gels to membranes for western blotting. It maintains the neutral pH environment established during electrophoresis. For native gel electrophoresis with NuPAGE Novex Tris-Acetate Gels, use the Novex Tris-Glycine Native Running Buffer. Sources 3 Additional Data & References 1. Native PAGE Gels 2. Western Blot Protocols and Recipes 3. NuPAGE Technical Guide (Page: 13, 34, 48) 4. NuPAGE Large Protein Analysis System (Page: 31) 5. Protein Electrophoresis Buffers and Reagents 6. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels
what NuPAGE Transfer Buffer (20X) is used for? | NP0006 | Usage of NuPAGE Transfer Buffer (20X) NuPAGE Transfer Buffer (20X) is used to transfer proteins from NuPAGE Bis-Tris and NuPAGE Tris-Acetate gels to membranes for western blotting. It maintains the neutral pH environment established during electrophoresis. The neutral pH protects against modification of amino acid side chains and is compatible with N-terminal protein sequencing using Edman degradation. Additional Data & References 1. NuPAGE Technical Guide (Page: 34, 35, 38, 53) 2. NuPAGE Large Protein Analysis System (Page: 16) 3. FAQ:What conditions should I use to transfer my gel when using the NuPAGE Transfer buffer? 4. FAQ:Can I use the NuPAGE transfer buffer with Tris-Glycine Gels? 5. FAQ:Is the NuPAGE Transfer buffer compatible with N-terminal sequencing of proteins via Edman degradation?
Product Type | NP0006 | Product Type of NP0006 The product type of NP0006 is Transfer Buffer. Additional Data & References 1. Western Blot Protocols and Recipes 2. NuPAGE Large Protein Analysis System (Page: 1, 31) 3. NuPAGE Technical Guide (Page: 1, 8, 48) 4. Western Blot Sample Preparation Protocol 5. Transfer Buffers for Western Blotting
prize | NP0006 | The price of the item NP0006 (NuPAGE™ Transfer Buffer (20X)) is $35.49 USD. i
What is thenit Size? | NP0006 | Unit Size of NP0006 The unit size of NP0006 (NuPAGE™ Transfer Buffer (20X)) is 125 mL. Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 8, 48, 56) 2. NuPAGE Large Protein Analysis System (Page: 1, 31) 3. Native PAGE Gels 4. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels
What are the related products? | NP0006 | Related Products for NP0006 Product Quantity Catalog no. XCell SureLock™ Mini-Cell 1 unit EI0001 XCell II™ Blot Module 1 unit EI9051 PowerEase® 500 Power Supply 1 unit EI8600 DryEase® Mini-Gel Drying System 1 Kit NI2387 StainEase® Staining Tray 2/pack NI2400 Gel-Dry™ Drying Solution 500 mL LC4025 iBlot® Gel Transfer Device 1 unit IB1001 Novex® Semi-Dry Blotter 1 unit SD1000 NuPAGE® LDS Sample Buffer (4X) 10 mL NP0007 NuPAGE® MOPS SDS Running Buffer (20X) 500 mL NP0001 NuPAGE® MES SDS Running Buffer (20X) 500 mL NP0002 NuPAGE® Tris-Acetate SDS Running Buffer (20X) 500 mL LA0041 NuPAGE® Antioxidant 15 mL NP0005 NuPAGE® Sample Reducing Agent (10X) 250 μL NP0004 Novex® Tris-Glycine Native Running Buffer (10X) 500 mL LC2672 Novex® Tris-Glycine Native Sample Buffer (2X) 20 mL LC2673 Nitrocellulose Membrane 0.2 μm 20 membrane/filter papers LC2000 Invitrolon™ PVDF membranes 0.45 μm 20 membrane/filter papers LC2005 PVDF membranes 0.2 μm 20 membrane/filter papers LC2002 Sources 1 3 Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 48) 2. Western Blot Protocols and Recipes 3. NuPAGE Large Protein Analysis System (Page: 1, 4, 9, 31) 4. Western Blot Sample Preparation Protocol
is this similar to NP0002 and NP0004? | NP0006 | Comparison of NP0006, NP0002, and NP0004 Attribute NP0006 NP0002 NP0004 Product Title NuPAGE™ Transfer Buffer (20X) NuPAGE™ MES SDS Running Buffer (20X) NuPAGE™ Sample Reducing Agent (10X) Catalog Number NP0006 NP0002 NP0004 Product Type Transfer Buffer Running Buffer Sample Reducing Agent Quantity 125 mL 500 mL 250 μL Concentration 20X 20X 500 mM Price $35.49 USD $112.00 USD $19.65 USD Shelf Life 6 Months 6 Months 6 Months Shipping Condition Room Temperature Wet Ice Wet Ice Availability In Stock In Stock In Stock i
What are the alternate products? | NP0006 | Alternate Products for NP0006 Product Catalog Number Price Availability Bolt™ Transfer Buffer (20X) BT00061 $235.65 USD In Stock This search is not yet fully optimized to provide product recommendations. Please feel free to ask specific questions about this product for more detailed information. i
how to get prodct support? | NP0006 | Here is the contact information to reach our team. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
Certificates for MYP91T1 | NP0006 | Certificates (5 matches) Lot # Certificate Type Date Catalog Number(s) 3268014 Certificate of Analysis Sep 08, 2025 NP00061 TFRS1ZOMP Certificate of Analysis Sep 03, 2025 NP0006 TFQAMOLFB Certificate of Analysis Sep 02, 2025 NP0006 TFRSHBWU4 Certificate of Analysis Aug 31, 2025 NP0006 TFRSWNZXP Certificate of Analysis Aug 30, 2025 NP0006 Here are the 5 latest certificate(s). If you can't find the one you're looking for, please provide the LOT number below.
SDS | NP0006 | I found the following safety_data_sheets for NP0006 Safety Data Sheets (1 matches) NP0006
Certificates for 2908147 | NP0006 | I found the following certificates for NP0006 Certificates (1 matches) Lot # Certificate Type Date Catalog Number(s) 2908147 Certificate of Analysis May 16, 2024 NP0006
Can I know the stauts of my order placed 2 days ago | NP0006 | Sorry, I can only assist with product-related inquiries. Please contact our online order support team or click the red chat icon on that page for further assistance with any order related inquiries. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
how to request for a quote for a bulk order? | NP0006 | We have live representatives available now that can assist you with the inquiry! Connect with them by selecting the team available in the open chat window to get started.
Can I sue you if you give wrong responses | NP0006 | It seems that some of the language being used is inappropriate. Please continue our interaction respectfully. If you need immediate help, please contact our customer support team.
protein staructure | NP0006 | Protein Structure Information The molecular weight of a protein can be determined based upon its relative mobility by constructing a standard curve with protein standards of known molecular weights. The protein mobility in SDS-PAGE gels is dependent on the: Length of the protein in its fully denatured state, SDS-PAGE buffer systems, and Secondary structure of the protein. The same molecular weight standard may have slightly different mobility, resulting in different apparent molecular weight when run in different SDS-PAGE buffer systems. When using SDS-PAGE for molecular weight determination, slight deviations from the calculated molecular weight of a protein (calculated from the known amino acid sequence) can occur due to the retention of varying degrees of secondary structure in the protein, even in the presence of SDS. This phenomenon is observed in highly organized secondary structures (collagens, histones, or highly hydrophobic membrane proteins) and in peptides, where the effect of local secondary structure becomes magnified relative to the total size of the peptide. Slight differences in protein mobilities also occur when the same proteins are run in different SDS-PAGE buffer systems. Each SDS-PAGE buffer system has a different pH, which affects the charge of a protein and its binding capacity for SDS. The degree of change in protein mobility is usually small in natural proteins but more pronounced with 'atypical' or chemically modified proteins such as pre-stained standards. Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 42, 44, 49) 2. Blocking Buffers for Western Blot and ELISA 3. Transfer Buffers for Western Blotting 4. Native PAGE Gels 5. NuPAGE Tris-Acetate Gels 6. NuPAGE Large Protein Analysis System (Page: 24)
dna | NP0006 | I didn’t understand your question. Let’s try this again. Could you please provide more details or clarify what you need help with?
Certificates for 2908140000 | NP0006 | Certificates (5 matches) Lot # Certificate Type Date Catalog Number(s) 3268014 Certificate of Analysis Sep 08, 2025 NP00061 TFRS1ZOMP Certificate of Analysis Sep 03, 2025 NP0006 TFQAMOLFB Certificate of Analysis Sep 02, 2025 NP0006 TFRSHBWU4 Certificate of Analysis Aug 31, 2025 NP0006 TFRSWNZXP Certificate of Analysis Aug 30, 2025 NP0006 Here are the 5 latest certificate(s). If you can't find the one you're looking for, please provide the LOT number below.
how to detect the binding between MGP and BMP-2 | NP0006 | Detection of Binding Between MGP and BMP-2 To detect binding between Matrix GLA protein (MGP) and bone morphogenetic protein-2 (BMP-2), immunoprecipitation can be performed using MGP and BMP-2 tagged with FLAG and c-Myc. The results showed co-precipitation of BMP-2 with MGP. For further details, refer to the publication: Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2 by Zebboudj Amina F, Imura Minori, and Boström Kristina, published in J Biol Chem. PubMed ID: 11741887. Sources 1 Additional Data & References 1. Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2. 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. NuPAGE Tris-Acetate Gels 4. Native PAGE Gels 5. NuPAGE Technical Guide (Page: 36, 46) 6. Blocking Buffers for Western Blot and ELISA 7. FAQ:Is the NuPAGE Transfer buffer compatible with N-terminal sequencing of proteins via Edman degradation?
How to generate the web quote | NP0006 | Sorry, I can only assist with inquiries related to this specific product. Please contact Customer Service or visit Generate a Web Quote page for further assistance. How can we help? Customer Service 1800 419 5433 mail.sa@thermofisher.com Technical Support 1800 419 5433 Contact Technical Support Instrument Service 1800 419 5433 india-info@thermofisher.com
How to generate the web quote | A57621 | We have agents available now that can assist you with this query! Please connect with them by selecting the team available in the open chat window to get started.
compare with Nupage products | NP0002 | Attribute NP0002 NP000202 Product Title NuPAGE™ MES SDS Running Buffer (20X) NuPAGE™ MES SDS Running Buffer (20X), 5 L Catalog Number NP0002 NP000202 Product Size Each Each Quantity 500 mL 5 L Price $112.00 USD $800.65 USD Availability In Stock In Stock i
is 3500 better? | NP0002 | Comparing NP0002 and 3500: Attribute NP0002 3500 Product Title NuPAGE™ MES SDS Running Buffer (20X) HLT 10 MICROPOINT BULK NST 100 Catalog Number NP0002 3500 Product Size Each Case of 10000 Price $112.00 USD Price not available Loyalty Aspire Eligible True False Recurring Order Eligible True False Availability In Stock Price not available Note: The suitability of NP0002 or 3500 depends on your specific requirements and application. NP0002 is a running buffer, while 3500 is a bulk product with different specifications and use cases. i
shipping condition of NP0004 | Np0006 | Shipping Conditions for NP0004 The NuPAGE Sample Reducing Agent (500 mM dithiothreitol) is shipped under wet ice conditions. Additional Data & References 1. FAQ:How should I store the NuPAGE Sample Reducing agent and NuPAGE Antioxidant? 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. Immunoprecipitation using Protein A - 10006D 4. Immunoprecipitation using Protein G - 10007D 5. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1, 1, 4) 7. Protein Electrophoresis Buffers and Reagents
sds of NP0007 | NP0006 | I found the following safety_data_sheets for NP0007 Safety Data Sheets (1 matches) NP0007
how to store this product? | NP0006 | Storage Conditions for NP0006 The NuPAGE Transfer Buffer (20X) should be stored at room temperature. It is guaranteed to be stable for 6 months unless otherwise specified in the product literature. Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 38, 48) 2. Western Blot Protocols and Recipes 3. Western Blot Sample Preparation Protocol 4. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 5. NuPAGE Large Protein Analysis System (Page: 4, 31)
Hi How are you? | NP0001 | Welcome! How may I help you today?
You are an excellent bot | NP0001 | Thank you! We're glad the information was helpful. Let us know if you need anything else.
I am not sure, if you are correct | NP0001 | We appreciate your feedback and apologize for any inconvenience.
what is the price of 10 of this product | NP0001 | The price of one unit of NP0001 (NuPAGE™ MOPS SDS Running Buffer (20X)) is $114.00 USD. For 10 units, the total price would be $1140.00 USD. i
manuals of NP0006 | NP0005 | I found the following Manuals for NP0006 Product Information (3 matches) NuPAGE Technical Guide NuPAGE Large Protein Analysis System Mini Gel Tank and Blot Module QRC
compare with microseq | NP0005 | We've found these potential matches for your search "microseq". If the product you wish to compare isn't shown in this list, please enter a catalog number in the text box below. MicroSEQ™ 500 16S rDNA Sequencing Kit Catalog Number: 4346480 MicroSEQ™ ID Microbial Identification Software v4.0 Catalog Number: A56679 Fast MicroSEQ™ 500 16S rDNA PCR Kit Catalog Number: 4370489 MicroSEQ™ Salmonella spp. Detection Kit Catalog Number: 4403930 MicroSEQ™ ID Purification Combo Kit v2.0, with cartridges Catalog Number: A37741
are there any flyers available? | A45206 | I found the following Flyers for A45206 Scientific Resources (1 matches) Flyer: SYBR Safe DNA Gel Stain - An alternative to ethidium bromide stain
Is Ethidium bromide hazardous? | A45206 | Hazards of Ethidium Bromide Ethidium bromide has been commonly used as a DNA stain for many years. However, it is harmful if swallowed and very toxic if inhaled. In powder form, it is considered an irritant to the eyes and upper respiratory tract. Ethidium bromide has been shown to be mutagenic in various in vitro assays and is an aquatic toxin. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) A42136 Sources 1 2 Additional Data & References 1. SYBR® Safe DNA Gel Stain - Green Fact Sheet (Page: 1, 2) 2. Flyer: SYBR Safe DNA Gel Stain - An alternative to ethidium bromide stain (Page: 1) 3. User Guide: E-Gel Power Snap Electrophoresis System (Page: 7, 45, 49, 50) 4. FAQ:How should I dispose of SYBR Safe DNA Gel Stain and E-Gels containing SYBR Safe DNA Gel Stain?
What are the main challenges associated with cfDNA library preparation? | A43605024 | Main Challenges Associated with cfDNA Library Preparation cfDNA extraction and library preparation for next-generation sequencing (NGS) is challenging due to the following reasons: Limited Quantities: Only very limited quantities of material are present in blood samples available for research, and the DNA is degraded. Variation in cfDNA Amount: There is considerable variation in the amount of cfDNA depending on the sample type, complicating workflow standardization. gDNA Contamination: Genomic DNA (gDNA) from white blood cells can be present in plasma samples due to mechanical damage caused during sample processing and storage. Low Quality of Input Material: cfDNA is often degraded due to apoptosis and exposure to conditions in peripheral circulation. Efficient and reproducible extraction of cfDNA is essential to the performance of liquid biopsy samples in oncology research. Sources 1 Additional Data & References 1. Application note: Library preparation from circulating cell-free DNA (Page: 1, 2, 4) 2. Tech Note: Scaling library preparation and maintaining quality (Page: 1, 2) 3. Tech Note: Impact of GC bias on library preparation (Page: 1) 4. User Guide: Collibri ES DNA Library Prep Kit for Illumina (Page: 15) 5. FAQ:How do I assess the quality of the prepared Collibri DNA library?
what are the problems posed by GC bias? | A43605024 | Problems Posed by GC Bias GC bias is a significant issue in next-generation sequencing (NGS) library preparation, particularly when using PCR-based methods. The main problems posed by GC bias include: Uneven Coverage: GC bias leads to uneven coverage of the genome, which can affect the accuracy of sequencing results. Taxonomic Representation: In microbiome studies, GC bias can cause significant variation in taxonomic representation, hindering accurate analysis. De Novo Genome Assembly: GC bias complicates de novo genome assembly and single-nucleotide polymorphism (SNP) discovery. Amplification-Related Artifacts: PCR amplification can introduce artifacts such as template switching and polymerase errors, further reducing library quality. Data Analysis Challenges: GC bias poses serious challenges for data analysis, particularly in regions with extreme GC content. Using PCR-free library preparation methods or optimizing PCR conditions can help minimize GC bias and improve the quality of sequencing data. Sources 1 2 3 Additional Data & References 1. Tech Note: Scaling library preparation and maintaining quality (Page: 1, 3) 2. Tech Note: Impact of GC bias on library preparation (Page: 1, 2, 5) 3. Tech Note: Factors for consideration in de novo sequencing (Page: 2) 4. Brochure: Collibri NGS library preparation kits for high-throughput Illumina systems (Page: 8, 9)
why the selection of NGS library preparation materials that accurately cover these difficult regions is crucial? | A43605024 | Importance of Selecting NGS Library Preparation Materials The selection of next-generation sequencing (NGS) library preparation materials that accurately cover difficult regions is crucial because: Equal Coverage: NGS requires equal coverage of all diverse regions in the human genome, especially those with extreme GC or AT content. Regulatory Elements: Regions with extreme GC or AT content contain many regulatory elements that are important for understanding the molecular basis of diseases. Scientific Validity: Proper representation of GC-rich and GC-poor regions is essential for the scientific validity of NGS results. Balanced Amplification: Accurate library preparation materials help achieve balanced amplification, minimizing loss of GC-rich regions. Using appropriate NGS library preparation materials ensures comprehensive and reliable sequencing data, which is vital for investigating the molecular basis of diseases. Sources 1 Additional Data & References 1. Tech Note: Impact of GC bias on library preparation (Page: 1, 4) 2. Tech Note: Scaling library preparation and maintaining quality (Page: 1) 3. Protocol for Collibri NGS of SARS-CoV-2 4. Collibri NGS Whole-Genome Library Prep Kits 5. User Guide: Collibri ES DNA Library Prep Kit for Illumina (Page: 15) 6. Tech Note: DNA fragmentation strategies for next-generation sequencing library preparation (Page: 1) 7. Collibri NGS Whole-Genome Library Prep Kits for Physically Sheared DNA
What is the significance of acetate in environmental processes? | IQLAAMGAATFARBMBNP | Significance of Acetate in Environmental Processes Acetate is an important organic molecule in environmental processes, serving as a key intermediate in the degradation of organic matter (plants, cells, etc.) to greenhouse gases. It is rapidly cycled by microbial communities in the environment, resulting in low concentrations that make it challenging to investigate its flux in biogeochemical cycles. This can be addressed using naturally occurring stable isotopes as a tool to quantify acetate cycling. The carbon and hydrogen isotope fingerprint of acetate can constrain its metabolic sources and the mechanisms of organic remineralization in anoxic settings. Sources 1 Additional Data & References 1. Technical note: Isotope ratio analysis of acetate using Orbitrap Exploris Isotope Solutions (Page: 1, 3, 4, 5, 6)
What is the main purpose of the Sarasota CM515 Density Converter? | 15472 | Main Purpose of Sarasota CM515 Density Converter The Sarasota CM515 Density Converter is designed for converting density measurements in liquid and gas applications. It provides accurate and reliable density conversion for various industrial processes. Sources 1 2 3 4 Additional Data & References 1. Sarasota CM515 - User Guide for Liquid Applications (Page: 1, 3) 2. Sarasota CM515 User Guide for Liquid Applications - User Manual (Page: 1, 3) 3. Sarasota CM515 for Gas Applications (Page: 1, 3) 4. Sarasota CM515 for Gas Applications - User Manual (Page: 1, 3)
what are iConnect Column Lock connectors | MI-148000-0008 | iConnect Column Lock Connectors Our TRACE 1600 Series GC systems are equipped with instant connect (iConnect) Column Lock connectors that simplify capillary column installation, eliminating the risk of over tightening and assuring quick and leak-free operations. They enable finger-tight connections to be achieved in a simple click and allow capillary column length adjustments to be made before installation. iConnect Column Lock connectors are also compatible with iConnect SSL injectors and all iConnect detector modules, as well as with the Thermo Scientific TriPlus 500 Headspace Autosampler interface. Finger-tight connections with a simple click, allowing capillary column length adjustments to be made before installation. Sources 1 2 3 Additional Data & References 1. Gas Chromatography System Features 2. Product Spotlight: Ensuring analytical testing efficiency through modular gas chromatography (Page: 3) 3. Brochure: Thermo Scientific TRACE 1600 Series GC and AI/AS 1610 Liquid Autosampler (Page: 2, 4) 4. Technical Note: Robust and user-friendly backflush technology reduces GC maintenance and maximizes laboratory throughput (Page: 2, 3, 4) 5. iConnect Modules for TRACE 1300 and 1600 Series GC (Page: 1)
how many nasel swabs were plated on each test medium and examined after each overnight? | R01822 | Nasal Swabs Plated on Each Test Medium A total of 670 nasal swabs were plated on each test medium and examined after overnight (16 to 24 hours) incubation. Sources 1 Additional Data & References 1. Evaluation of a Novel Agar Medium from Remel to Screen for Methicillin Resistant Staphylococcus aureus (Page: 1, 2, 3) 2. Comparison of Four Media for the Detection of Methicillin-Resistant Staphylococcus aureus (MRSA) from Nasal Swabs (Page: 1, 2, 3) 3. Spectra MRSA (Page: 1, 2)
What are some of the common Python packages included in the AutoScript package? | AUTOSCRIPT4 | Common Python Packages Included in AutoScript AutoScript is built upon Python 3.5 and includes a number of pre-installed libraries for scientific computing, data analysis, data visualization, image processing, and machine learning.
Physical and Chemical Characteristics RINGERS SOLUTION BR0052G ? | BR0052G | Physical and Chemical Characteristics of Ringers Solution BR0052G Characteristic Details Tablet colour White Average tablet weight 1.140 - 1.260g No more than 10% of tablets outside 1.110 - 1.290g with none outside 1.080 - 1.320g Tablet pressure Greater than or equal to 10kp Clarity (soln.) Clear Moisture level Less than or equal to 1.6% Chloride content (as NaCl) 96.5% Sources 2 3 Additional Data & References 1. MBD_BT_IFU-0700 BR0052G - Ringers Solution - Oxoid Ltd.pdf (Page: 1, 4, 10, 13, 14, 23) 2. Product Specification: Ringers Solution (Page: 1) 3. Ringers Solution (Page: 1)
how to test the robustness of Crt method? | 4469605 | Testing the Robustness of the Crt Method To test the robustness of the Crt method, thousands of individual Applied Biosystems™ TaqMan™ Assays were run on the OpenArray platform, and the Crt and Ct values generated for each through-hole were compared. Crt values spanned ~10 log units (-4 to -37) and included hundreds of targets. Strong correlation (R2 = 0.9891) was seen for the two sets of Crt values, indicating that the two methodologies give comparable Crt values across a large dynamic range. Although correlation in the high Crt range is very good, for gene expression analysis we recommend removing Crt values ≥28 (Crt = 28 is ~1 copy) to avoid results that may be stochastic. Sources 1 Additional Data & References 1. Crt, a relative threshold method for qPCR data analysis on the QuantStudio™ 12K Flex system with OpenArray® technology (Page: 1, 2, 3) 2. User Guide: QuantStudio 12K Flex Real-Time PCR System: OpenArray Experiments (Page: 73, 75, 151, 219, 228)
looking for brochures and How does the SECURE-Spin mode support data management compliance and traceability? | 75009240 | I found the following Brochures for 75009240 Scientific Resources (1 matches) Sorvall GP Pro and Plus Centrifuge Series Brochure
what information you can provide? Can you provide the protocol? | g401001 | Protocol for Running E-Gel EX Gels for RNA Samples on the E-Gel PowerSnap Electrophoresis System Yes, the protocol for running E-Gel EX gels for RNA samples on the E-Gel PowerSnap Electrophoresis System can be found in the E-Gel Power Snap Electrophoresis System User Guide, on page 46 under Appendix E. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Gel Electrophoresis and Blotting Support Center. Protocol for Transferring RNA from E-Gel EX Agarose Gels for Northern Blotting Here is a suggested protocol: Prewet a nylon membrane suitable for use with RNA using 5X SSC buffer. Using the E-Gel Opener, remove the E-Gel Agarose Gel from the cassette. Soak gel 2 times for 10 minutes in 5X SSC, 10 mM NaOH at room temperature. Using standard techniques, assemble a capillary transfer device using 5X SSC, 10 mM NaOH as the transfer buffer. Transfer should be complete after 2 hours. Remove the membrane from the transfer setup. Rinse the membrane for 5 minutes in 5X SSC. Place the membrane on filter paper to dry (2-4 minutes). Bake the membrane for 30 minutes at 80°C under vacuum or fix RNA to the membrane using a UV crosslinker. Place the membrane between two pieces of blotting paper and seal in a hybridization bag. Store in a cool dry place. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Purification and Analysis Support Center. Protocol for RNA Electrophoresis on E-Gel Agarose Gels Our E-Gel agarose gels can be used for either DNA or RNA separation. RNA separation occurs under non-denaturing or denaturing conditions. Please note, our gels are not QC tested for the presence of RNases. See our suggestions below for running your non-denaturing or denaturing samples: Non-denaturing conditions Mix RNA sample with 15 µL of RNase-free water. Do not heat. Load the entire sample onto the E-Gel agarose gel. Electrophorese for 30 min. Denaturing conditions Mix 15 µL of RNA loading buffer with 1-5 µL of RNA (1-5 µg). Heat samples at 65 degrees C for 10 min to denature RNA. Place samples on ice immediately after heating. Load entire sample onto E-Gel agarose gel. Electrophorese for 30 min. Note: The only denaturing agent that is compatible with the E-Gel system is formamide, 50-95%. Heating the sample for 5 min at 65 degrees C should be sufficient for denaturing. Using other denaturing agents like glyoxal, formaldehyde, or urea will result in very poor separation and band morphology on E-Gel agarose gels. Additionally, we do not recommend running samples with RNA loading buffer on the same gel as samples loaded with water. E-Gel EX Double Comb agarose gels and E-Gel Double Comb agarose gels with SYBR Safe stain have not been tested for use in RNA applications. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Purification and Analysis Support Center. Sources 1 3 4 Additional Data & References 1. FAQ:Can you provide me with the protocol to run E-Gel EX gels for RNA samples on the E-Gel PowerSnap Electrophoresis System? 2. User Guide: E-Gel Power Snap Electrophoresis System (Page: 2, 3, 17, 19) 3. FAQ:Do you have a protocol for transferring RNA from my E-Gel EX Agarose Gels for Northern blotting? 4. FAQ:Do you have a protocol for RNA electrophoresis on your E-Gel agarose gels? 5. Quick Ref: E-Gel® EX Agarose Gel (Page: 1)
what is the transfection procedure for Optifect™ Reagent? | 12579017 | Transfection Procedure for Optifect™ Reagent 1. For each transfection sample, prepare complexes as follows: a. Dilute 0.8–1.2 µg of DNA in 50 µL of Opti-MEM® I Reduced Serum Medium without serum. Mix gently. b. Mix OptiFect™ Reagent gently before use, then dilute 1–4 µL in 50 µL of Opti-MEM® I Medium. Mix gently and incubate for 5 minutes at room temperature. Note: Combine diluted OptiFect™ Reagent with diluted DNA within 30 minutes. c. After 5 minute incubation, combine the diluted DNA with diluted OptiFect™ Reagent (total volume = 100 µL). Mix gently and incubate for 20 minutes at room temperature (solution may appear cloudy). Note: Complexes are stable for 6 hours at room temperature. d. Add the 100 µL of complexes to a well containing cells and medium. Mix gently by rocking the plate back and forth. e. Incubate cells at 37°C in a CO₂ incubator for 24–72 hours prior to testing for transgene expression. It is not necessary to change the medium, but medium may be replaced after 4–6 hours. Optimizing Transfection To obtain the highest transfection efficiency and low non-specific effects, it may be necessary to optimize transfection conditions. The optimal ratio of DNA (µg):OptiFect™ Reagent (µL) varies depending on the cell line and the type of transfection-mediated cytotoxicity (e.g. HeLa, HT1080); use the following ranges of OptiFect™ Reagent suggested in the table on page 4 (see column 5). Sources 2 Additional Data & References 1. Optifect Transfection Reagent (Page: 1, 2, 3, 4) 2. Optifect Reagent (Page: 1, 3, 4) 3. Optifect™ Transfection Reagent
what are the methodologies used for staining? | NP00061 | Methodologies Used for Staining Several methodologies are used for staining, including: Coomassie Staining Colloidal Blue Staining Kit Protocol for NuPAGE® Novex® Tris-Acetate Gels: Incubate the gel in Staining Solution for a minimum of 3 hours and a maximum of 12 hours at room temperature with gentle shaking. Decant the Staining Solution and add at least 200 mL of deionized water per gel to the staining container. Gently shake the gel in water for at least 7 hours. The gel background should be clear after 7 hours in water. For gel-drying, see page 28. Colloidal Blue Staining Kit Protocol for NuPAGE® Novex® Bis-Tris Gels: Incubate the gel in Fixing Solution for 10 minutes at room temperature with gentle shaking. Incubate the gel in this Staining Solution (without Stainer B) for 10 minutes at room temperature with gentle shaking. Add 5 mL Stainer B per gel to the Staining Solution from previous step. Continue staining for a minimum of 3 hours and a maximum of 16 hours. Decant the Staining Solution and add 200 mL of deionized water per gel to the staining container. Gently shake the gel in water for at least 7 hours. The gel background should be clear after 7 hours in water. For gel-drying, see page 28. Note: NuPAGE® Gels can be left in deionized water for up to 3 days without significant change in band intensity and background clarity. For long-term storage (over 3 days), keep the gel in a 20% ammonium sulfate solution at 4°C. Silver Staining SilverQuest™ Microwave Silver Staining Protocol: After electrophoresis, place the gel in a clean microwaveable staining tray of the appropriate size. Rinse the gel briefly with ultrapure water. Place the gel in 100 mL of fixative and microwave at high power (700 watts) for 30 seconds. Remove the gel from the microwave and gently agitate it for 5 minutes at room temperature. Decant the fixative. Wash the gel with 100 mL of 30% ethanol in a microwave at high power for 30 seconds. Remove the gel from the microwave and gently agitate it for 5 minutes at room temperature on a rotary shaker. Decant the ethanol. Add 100 mL of Sensitizing solution to the washed gel. Microwave at high power for 30 seconds. Remove the gel from the microwave and place it on a rotary shaker for 2 minutes at room temperature. Decant the Sensitizing solution. SimplyBlue™ SafeStain Basic Protocol: Rinse the mini-gel 3 times for 5 minutes with 100 mL deionized water to remove SDS and buffer salts, which interfere with binding of the dye to the protein. Discard each rinse. Stain the mini-gel with enough SimplyBlue™ SafeStain (~20 mL) to cover the mini-gel. Stain for 1 hour at room temperature with gentle shaking. Bands will begin to develop within minutes. After incubation, discard the stain. Do not re-use the stain. Wash the mini-gel with 100 mL water for 1-3 hours. The gel can be left in the water for several days without loss of sensitivity. SYPRO® Ruby Staining SYPRO® Ruby Rapid Protocol: After electrophoresis, place the gel into a clean a microwavable container with 100 mL of Fix Solution and agitate on an orbital shaker for 15 minutes. Pour off the used fix solution and repeat once more with fresh Fix Solution. Pour off the used fix solution. Add 60 mL of SYPRO® Ruby gel stain to the tray containing the gel. Microwave 30 seconds, agitate 30 seconds to distribute heat evenly, then microwave another 30 seconds to reach 80–85°C, and agitate on an orbital shaker for 5 minutes. Reheat the gel by microwaving a third time for 30 seconds and then agitate on an orbital shaker for 23 minutes for a total stain time of 30 minutes. Transfer the gel to a clean container and wash in 100 mL of Wash Solution for 30 minutes. The transfer step is necessary to avoid heating the destain solution, which may reduce stain sensitivity, and also helps minimize background staining irregularities and stain speckles on the gel. Rinse the gel in ultrapure water for 5 minutes. Repeat the rinse a minimum of one more time to prevent possible corrosive damage to your imager. Note: If you are staining two gels, double the reagent volumes. Increase volumes 1.5-fold for 1.5mm thick gels. Heat the gel in the microwave on full power in increments of 30–45 seconds, until the stain reaches 80–85°C. Do not heat the fixative solution or other methanolic solutions in the microwave. Although SYPRO® Ruby stain solution is not flammable, use caution when microwaving SYPRO® Ruby stain as the solution becomes very hot. Sources 1 2 Additional Data & References 1. NuPAGE Technical Guide (Page: 21, 26, 27, 30, 41) 2. NuPAGE Large Protein Analysis System (Page: 22, 26, 27)
dilution | 34577 | Recommended Dilution Information for SuperSignal West Pico PLUS Chemiluminescent Substrate Primary antibody: 0.2 to 1.0 µg/mL (1:1000 to 1:5000 dilution from a 1 mg/mL stock) Secondary antibody: 10 to 50 ng/mL (1:20,000 to 1:100,000 dilution from 1 mg/mL stock) For optimal results, ensure that your western blot procedure is well-optimized, including sample amount, gel type, transfer method, membrane type, blocking reagent, wash buffer, and incubation times. Sources 1 3 5 Additional Data & References 1. FAQ:What is the recommended dilution range for SuperSignal West Pico PLUS Chemiluminescent Substrate? 2. Antibodies for Western Blotting 3. ECL Western Blot Substrates 4. Chromogenic Western Blot Detection 5. User Guide: SuperSignal West Pico PLUS Chemiluminescent Substrate (Page: 1) 6. Chemiluminescent Western Blot Detection 7. Brochure: Western workflow overview brochure (Chinese) (Page: 23, 45)
What are the different gel formulations available for NuPAGE® Novex® Pre-Cast Gels? What additional equipment is recommended for Western blotting using NuPAGE® Gels? | NP00061 | NuPAGE® Novex® Pre-Cast Gel Formulations The NuPAGE® Novex® Pre-Cast Gels are available in different acrylamide concentrations. The formulations are as follows: Gel Type Formulation Stacking Gel Separating Gel pH NuPAGE® Novex® Bis-Tris Gels Bis-Tris-HCl buffer (pH 6.4), Acrylamide, Bis-acrylamide, APS, Ultrapure water 4% 10%, 12%, 4–12% 7.0 NuPAGE® Novex® Tris-Acetate Gels Tris-base, Acetic acid, Acrylamide, Bis-acrylamide, TEMED, APS, Ultrapure water 3.2% 7%, 3–8% 8.1 Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 3, 5, 8, 9, 11, 12, 27) 2. NuPAGE Large Protein Analysis System (Page: 9)
is this product hazardous? | NP0006 | Hazard Information for NuPAGE Transfer Buffer (20X) Warning: This product contains a chemical (acrylamide) known to the state of California to cause cancer. Gloves should be worn at all times when handling gels. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) NP0006 Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 5, 48, 56) 2. NuPAGE Large Protein Analysis System (Page: 4, 32) 3. Western Blot Sample Preparation Protocol 4. Western Blot Protocols and Recipes
what should I do if this accidentally gets in my eyes? | B153 | I was unable to find specific information on what to do if bis-ANS gets in your eyes. Refer to the Safety Data Sheet (SDS) for detailed safety information. Please contact our Technical Support Team. Safety Data Sheet (1 matches) B153 Sources i Additional Data & References 1. Conformational properties of substrate proteins bound to a molecular chaperone alpha-crystallin. 2. Other Nonpolar and Amphiphilic Probes—Section 13.5 3. Probes for Tubulin and Other Cytoskeletal Proteins—Section 11.2 4. Binding of recrystallized and chromatographically purified 8-anilino-1-naphthalenesulfonate to Escherichia coli lac repressor. 5. Temperature-induced exposure of hydrophobic surfaces and its effect on the chaperone activity of alpha-crystallin. 6. Recoverin is a zinc-binding protein. 7. Interaction of 1,1'-bi(4-anilino)naphthalene-5,5'-disulfonic acid with alpha-crystallin. 8. Heat-induced conformational change of human lens recombinant alphaA- and alphaB-crystallins. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
Can i consume this? | B153 | Consumption of Bis-ANS Bis-ANS is intended for research use only and is not for use in diagnostic procedures. It should not be consumed or ingested under any circumstances. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) B153 Additional Data & References 1. Probes for Tubulin and Other Cytoskeletal Proteins—Section 11.2 2. Other Nonpolar and Amphiphilic Probes—Section 13.5 3. Proteolytic digestion of alpha-lactalbumin: physiological implications. 4. Spare Parts List for the SOLA II And SOLA II Trace Sulfur Online Analyzer (Page: 4) 5. cDNA cloning and expression of the human hepatic bile acid-binding protein. A member of the monomeric reductase gene family. 6. Selective adsorption of bis(1-anilino-8-naphthalenesulfonate) to the multiple forms of lactic dehydrogenase. 7. 4,4'-Bis[8-(phenylamino)naphthalene-1-sulfonate] binding to human thrombins: a sensitive exo site fluorescent affinity probe. 8. Aluminum fluoride interactions with troponin C.
What are the optimal run times for gels using MES and MOPS Running Buffers? | NP0007 | Optimal Run Times for Gels Using MES and MOPS Running Buffers For NuPAGE Bis-Tris Gels: MES Running Buffer: Run for 35 minutes at 200 V constant. MOPS Running Buffer: Run for 50 minutes at 200 V constant. Sources 3 4 Additional Data & References 1. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 2. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 2, 2) 4. NuPAGE Technical Guide (Page: 9, 13, 18, 46) 5. Protein Electrophoresis Buffers and Reagents
Can I fix the cells after staining? | l7526 | Fixing Cells After Staining with LysoTracker Green DND-26 LysoTracker Green DND-26 is a non-fixable dye, meaning it is not suitable for fixing cells after staining. This dye is designed for live-cell staining and tracking of acidic organelles such as lysosomes. For more information, you can visit our Cell Analysis Support Center. Additional Data & References 1. Probes for Lysosomes, Peroxisomes and Yeast Vacuoles—Section 12.3 2. LysoTracker and LysoSensor Probes (Page: 1, 2, 3, 4) 3. FAQ:What is the recommended incubation time for LysoTracker Green DND-26 (Cat. No. L7526) and LysoSensor Yellow/Blue DND-160 (Cat. No. L7545)?
how to use the SimplyBlue™ SafeStain? | NP0006 | Using SimplyBlue™ SafeStain Introduction The NuPAGE® Large Protein Staining Kit includes the reagents to perform electrophoresis and staining with SimplyBlue™ SafeStain. SimplyBlue™ SafeStain is a ready-to-use, proprietary Coomassie G-250 stain that is specially formulated for fast, sensitive detection and safe, non-hazardous disposal. Proteins stained using SimplyBlue™ SafeStain are compatible with mass spectrometry (MS) analysis. Basic Protocol Rinse the mini-gel 3 times for 5 minutes with 100 mL deionized water to remove SDS and buffer salts, which interfere with binding of the dye to the protein. Discard each rinse. Stain the mini-gel with enough SimplyBlue™ SafeStain (~20 mL) to cover the mini-gel. Stain for 1 hour at room temperature with gentle shaking. Bands will begin to develop within minutes. After incubation, discard the stain. Do not re-use the stain. Wash the mini-gel with 100 mL water for 1-3 hours. The gel can be left in the water for several days without loss of sensitivity. Microwave Protocol After electrophoresis, place the gel in 100 mL deionized water in a loosely covered container and microwave on High (950 to 1100 watts) for 1 minute until the solution almost boils. Shake the gel on an orbital shaker for 1 minute. Discard the water. Repeat Steps 1-2 two more times. After the last wash, add 20 mL SimplyBlue™ SafeStain and microwave on High for 45 seconds to 1 minute until the solution almost boils. Shake the gel on an orbital shaker for 5 minutes. (Detection limit 20 ng BSA.) Wash the gel in 100 mL of ultrapure water for 10 minutes on a shaker. (Detection limit 10 ng BSA.) Add 20 mL of 20% NaCl for at least 5 minutes. (Detection limit 5 ng BSA.) The gel can be stored for several weeks in the salt solution. Disposal Information In most cases, the SimplyBlue™ SafeStain can be diluted 1:20 with water and flushed down the drain. Diluting the stain raises the pH to between 5 and 7, which complies with most federal and state regulations. For disposal requirements in your area, consult your safety officer. Drying the Gel The stained gel can be dried for storage or analysis by vacuum-drying or air-drying. We recommend using the DryEase™ Mini-Gel Drying System to air-dry the gel. When using the DryEase™ Mini-Gel Drying System, be sure to restrict the incubation time of your SimplyBlue™ SafeStain stained gel in the Gel-Dry™ Drying Solution to 5 minutes because longer exposure can result in destaining of bands. Sources 1 Additional Data & References 1. NuPAGE Large Protein Analysis System (Page: 8, 21, 22, 23, 24, 29) 2. NuPAGE Technical Guide (Page: 24, 25)
four polyacrylamide concentrations of NuPAGE Bis-Tris protein gels | NP0336BOX | Polyacrylamide Concentrations of NuPAGE Bis-Tris Protein Gels The NuPAGE Bis-Tris protein gels come in four polyacrylamide concentrations: 8% 10% 12% 4-12% gradient Sources 1 2 3 4 5 6 7 8 Additional Data & References 1. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1) 2. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 3. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 4. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 5. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 6. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 7. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 8. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm
Can you provide solubility information for np0002? | NP0002 | Solubility Information for NuPAGE MES SDS Running Buffer (20X) The NuPAGE MES SDS Running Buffer (20X) is soluble in water. Additional Data & References 1. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1, 1, 3, 3) 3. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 4. Protein Electrophoresis Buffers and Reagents 5. FAQ:Can I use NuPAGE Bis-Tris gels with NuPAGE MOPS or MES Running Buffer prepared without SDS for electrophoresis under native conditions? 6. FAQ:Are the NuPAGE MOPS and MES SDS running buffers compatible with N-terminal sequencing of proteins via Edman degradation?
porqu{e necesito amplificar el DNA donor | a53815 | Razón para amplificar el ADN donante La amplificación del ADN donante es necesaria para generar una cantidad suficiente de ADN de doble cadena lineal (dsDNA) con los brazos de homología específicos del gen deseado. Este proceso asegura que haya suficiente material genético para la transfección y la edición del genoma. El protocolo de amplificación del ADN donante TrueTag™ incluye la configuración de reacciones de PCR y la confirmación de la reacción exitosa mediante electroforesis en gel de agarosa. Esto garantiza que el ADN donante tenga el tamaño de banda correcto para diferentes tipos de donantes TrueTag™. Para más detalles, consulte la documentación del producto. Sources 1 2 Datos Adicionales y Referencias 1. User Guide: TrueTag DNA Donor Kit (Page: 3, 27, 37, 38, 40, 51) 2. Flyer: True story: There's an easier way to tag and enrich cells (Page: 2) 3. Workflow guide for using the TrueTag Knockout Enrichment Kit for knockout cell line generation (Page: 4)
Was sind die Funktionen der QuantiGene Plex-Panels? | QGP-306-RATHKPANEL | Funktionen der QuantiGene Plex Panels Die QuantiGene Plex Panels bieten mehrere Funktionen, die für die Genexpressionsanalyse nützlich sind: Echte Multiplexing-Fähigkeit — Messen Sie mehrere Gene von Interesse und Haushaltsgene im selben Well ohne Kreuzreaktivität. Anpassung an schwierige Probentypen — Funktioniert mit degradierten und vernetzten RNA in FFPE-Geweben und Blut. Standardisierte Plattform — Verwendet ein 96-Well-Format, das mit Luminex 200, FLEXMAP 3D und INTELLIFLEX-Systemen kompatibel ist (384-Well-Format auf Anfrage verfügbar). Einfacher Workflow — Verwendet einen ELISA-ähnlichen Workflow mit direkter Hybridisierung von Transkripten an Beads und Transkriptmarkierung (branched DNA-Signalamplifikation und PE-Auslesung). Anpassung mit validierten Zielen — Wenn alternative Ziele in diesem Panel benötigt werden, wählen Sie aus unserem großen Inventar von über 22.000 Genen, um benutzerdefinierte Forschungspanels zu erstellen. Schnelle Durchlaufzeit — Dieses Katalogpanel ermöglicht eine schnelle Lieferung. Ziele: Actb, Gapdh, Gusb, Hprt, Tbp, Ppib Panel- und Signalamplifikationstechnologie QuantiGene Plex Assays sind Hybridisierungs-basierte Assays zur direkten Quantifizierung von RNA direkt aus Zelllysaten, Gewebehomogenaten oder gereinigter RNA. Sie ermöglichen die Messung mehrerer Ziele im selben Well durch Multiplexing. QuantiGene Plex Panels enthalten zwei Komponenten: ein zielgerichtetes Sondenset und magnetische Fangbeads. Die zielgerichteten Sonden werden verwendet, um die interessierende RNA zu erfassen, und die branched DNA-Technologie verstärkt dann die Fluoreszenzsignale, die mit einem Luminex xMAP-Instrument ausgelesen werden. Die Intensität des Fluoreszenzsignals ist direkt proportional zur Menge an Ziel-mRNA, die in der Probe vorhanden ist. Dies ermöglicht die (relative) Quantifizierung der Genexpression und mit diesem spezifischen Panel die menschliche Immunprofilierung. Eine detaillierte und schrittweise Datenanalyse wird durch die QuantiGene Plex Datenanalyse-App erleichtert. Anwendungen Forschungsanwendungen des QuantiGene Plex Assays umfassen das Screening von Wirkstoffkandidaten, die Verifizierung von Biomarkern, die Bestimmung der siRNA-Knockdown-Effizienz, die prospektive und/oder retrospektive Analyse klinischer Proben, die Validierung von Mikroarrays, die prädiktive Toxikologieforschung und die Erkennung von Translokations-/Fusionsgenen. Im Allgemeinen kann jede Multiplex-Genexpressionsanalyse mit QuantiGene Plex Assays durchgeführt werden, unabhängig von Spezies oder Probentyp. Zusätzliche Daten & Referenzen 1. User Guide: QuantiGene Plex Gene Expression Assay (Page: 3, 5, 9) 2. User Guide: QuantiGene Plex Gene Expression Assay (Page: 1, 3, 5, 8, 32)
existe-t-il des listes de pièces disponibles | B153 | J'ai trouvé le suivant Part Lists pour B153 Product Information (1 matches) Spare Parts List for the SOLA II And SOLA II Trace Sulfur Online Analyzer
與 NP0006 比較 | NP0007 | 属性 NP0007 NP0006 产品名称 NuPAGE™ LDS Sample Buffer (4X) NuPAGE™ Transfer Buffer (20X) 目录编号 NP0007 NP0006 产品类型 LDS Sample Buffer Transfer Buffer 浓度 4X 20X 数量 10mL 125mL 价格 $23.46 USD $35.49 USD 储存条件 4°C to 25°C 室温 兼容胶类型 NuPAGE™ Gels NuPAGE™ Gels 运输条件 室温或湿冰 室温 保质期 未指定 6个月 库存状态 有库存 有库存 i
/ 제품 지원을 받으려면 어떻게 해야 하나요? | NP0007 | 팀에 연락할 수 있는 연락처 정보입니다. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
MGPとBMP-2の結合を検出する方法 | NP0006 | MGPとBMP-2の結合の検出方法 MGPとBMP-2の結合を検出するために、FLAGとc-Mycでタグ付けされたMGPとBMP-2を使用して免疫沈降を行いました。結果は、MGPとBMP-2の共沈を示しました。 Binding Detection of MGP and BMP-2 To detect binding between MGP and BMP-2, we performed immunoprecipitation using MGP and BMP-2 tagged with FLAG and c-Myc. The results showed co-precipitation of BMP-2 with MGP. Sources 1 追加データと参考資料 1. Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2. 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. NuPAGE Tris-Acetate Gels 4. Western Blot Buffers 5. Blocking Buffers for Western Blot and ELISA 6. Native PAGE Gels 7. NuPAGE Technical Guide (Page: 43) 8. NuPAGE Large Protein Analysis System (Page: 30)
list all the Vitamins and their Molecular weights? | 11012044 | Vitamins and Their Molecular Weights Choline chloride: 140.0 D-Calcium pantothenate: 477.0 Folic Acid: 441.0 Niacinamide: 122.0 Pyridoxal hydrochloride: 204.0 Riboflavin: 376.0 Thiamine hydrochloride: 337.0 i-Inositol: 180.0 Sources 1 Additional Data & References 1. https://www.thermofisher.com/us/en/home/technical-resources/media-formulation.205 (Page: 1) 2. Product Sheet: Media and Balanced Salt Solutions Preparation from Powder and Concentrates (Page: 1, 2, 3) 3. Cell Culture Media Preparation from Powder 4. FAQ:Where can I find media formulations? 5. FAQ:Where can I find the osmolality for MEM Medium? 6. FAQ:Do you have a comparison of dishes, culture plates, and flasks by surface area, seeding density, cells at confluency, and volumes of Versene solution, trypsin, and growth medium?
which is the lighteste amino acid present in this? | 31800022 | Lightest Amino Acid in RPMI 1640 Medium The lightest amino acid present in RPMI 1640 Medium is Glycine, with a molecular weight of 75.0. Sources 1 Additional Data & References 1. https://www.thermofisher.com/us/en/home/technical-resources/media-formulation.119 (Page: 1) 2. Cell Culture Media Preparation from Powder 3. Flyer: Gibco custom media manufacturing (Page: 1) 4. Product Sheet: Media and Balanced Salt Solutions Preparation from Powder and Concentrates (Page: 1, 2, 3) 5. FAQ:What is the density (g/L) for RPMI 1640 Medium? 6. FAQ:How light sensitive is RPMI 1640 media? Should I also be protecting it from LED light?

## Sheet3
Question | SKU | Expected Answer
Concentration | NP0006 | Concentration of NP0006 The concentration of NP0006 is 20X. Additional Data & References 1. Western Blot Protocols and Recipes 2. NuPAGE Technical Guide (Page: 8, 48, 56) 3. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 4. Western Blot Sample Preparation Protocol 5. NuPAGE Large Protein Analysis System (Page: 6, 31)
Is this available for purchase? | NP0006 | Yes, NP0006 (NuPAGE™ Transfer Buffer (20X)) is available for purchase and is currently in stock. i
What buffer for this product? | NP0006 | Buffer Used for NP0006 NP0006 (NuPAGE Transfer Buffer) is used to transfer proteins from NuPAGE Bis-Tris and NuPAGE Tris-Acetate gels to membranes for western blotting. It maintains the neutral pH environment established during electrophoresis. For native gel electrophoresis with NuPAGE Novex Tris-Acetate Gels, use the Novex Tris-Glycine Native Running Buffer. Sources 3 Additional Data & References 1. Native PAGE Gels 2. Western Blot Protocols and Recipes 3. NuPAGE Technical Guide (Page: 13, 34, 48) 4. NuPAGE Large Protein Analysis System (Page: 31) 5. Protein Electrophoresis Buffers and Reagents 6. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels
what NuPAGE Transfer Buffer (20X) is used for? | NP0006 | Usage of NuPAGE Transfer Buffer (20X) NuPAGE Transfer Buffer (20X) is used to transfer proteins from NuPAGE Bis-Tris and NuPAGE Tris-Acetate gels to membranes for western blotting. It maintains the neutral pH environment established during electrophoresis. The neutral pH protects against modification of amino acid side chains and is compatible with N-terminal protein sequencing using Edman degradation. Additional Data & References 1. NuPAGE Technical Guide (Page: 34, 35, 38, 53) 2. NuPAGE Large Protein Analysis System (Page: 16) 3. FAQ:What conditions should I use to transfer my gel when using the NuPAGE Transfer buffer? 4. FAQ:Can I use the NuPAGE transfer buffer with Tris-Glycine Gels? 5. FAQ:Is the NuPAGE Transfer buffer compatible with N-terminal sequencing of proteins via Edman degradation?
Product Type | NP0006 | Product Type of NP0006 The product type of NP0006 is Transfer Buffer. Additional Data & References 1. Western Blot Protocols and Recipes 2. NuPAGE Large Protein Analysis System (Page: 1, 31) 3. NuPAGE Technical Guide (Page: 1, 8, 48) 4. Western Blot Sample Preparation Protocol 5. Transfer Buffers for Western Blotting
prize | NP0006 | The price of the item NP0006 (NuPAGE™ Transfer Buffer (20X)) is $35.49 USD. i
What is thenit Size? | NP0006 | Unit Size of NP0006 The unit size of NP0006 (NuPAGE™ Transfer Buffer (20X)) is 125 mL. Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 8, 48, 56) 2. NuPAGE Large Protein Analysis System (Page: 1, 31) 3. Native PAGE Gels 4. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels
What are the related products? | NP0006 | Related Products for NP0006 Product Quantity Catalog no. XCell SureLock™ Mini-Cell 1 unit EI0001 XCell II™ Blot Module 1 unit EI9051 PowerEase® 500 Power Supply 1 unit EI8600 DryEase® Mini-Gel Drying System 1 Kit NI2387 StainEase® Staining Tray 2/pack NI2400 Gel-Dry™ Drying Solution 500 mL LC4025 iBlot® Gel Transfer Device 1 unit IB1001 Novex® Semi-Dry Blotter 1 unit SD1000 NuPAGE® LDS Sample Buffer (4X) 10 mL NP0007 NuPAGE® MOPS SDS Running Buffer (20X) 500 mL NP0001 NuPAGE® MES SDS Running Buffer (20X) 500 mL NP0002 NuPAGE® Tris-Acetate SDS Running Buffer (20X) 500 mL LA0041 NuPAGE® Antioxidant 15 mL NP0005 NuPAGE® Sample Reducing Agent (10X) 250 μL NP0004 Novex® Tris-Glycine Native Running Buffer (10X) 500 mL LC2672 Novex® Tris-Glycine Native Sample Buffer (2X) 20 mL LC2673 Nitrocellulose Membrane 0.2 μm 20 membrane/filter papers LC2000 Invitrolon™ PVDF membranes 0.45 μm 20 membrane/filter papers LC2005 PVDF membranes 0.2 μm 20 membrane/filter papers LC2002 Sources 1 3 Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 48) 2. Western Blot Protocols and Recipes 3. NuPAGE Large Protein Analysis System (Page: 1, 4, 9, 31) 4. Western Blot Sample Preparation Protocol
is this similar to NP0002 and NP0004? | NP0006 | Comparison of NP0006, NP0002, and NP0004 Attribute NP0006 NP0002 NP0004 Product Title NuPAGE™ Transfer Buffer (20X) NuPAGE™ MES SDS Running Buffer (20X) NuPAGE™ Sample Reducing Agent (10X) Catalog Number NP0006 NP0002 NP0004 Product Type Transfer Buffer Running Buffer Sample Reducing Agent Quantity 125 mL 500 mL 250 μL Concentration 20X 20X 500 mM Price $35.49 USD $112.00 USD $19.65 USD Shelf Life 6 Months 6 Months 6 Months Shipping Condition Room Temperature Wet Ice Wet Ice Availability In Stock In Stock In Stock i
What are the alternate products? | NP0006 | Alternate Products for NP0006 Product Catalog Number Price Availability Bolt™ Transfer Buffer (20X) BT00061 $235.65 USD In Stock This search is not yet fully optimized to provide product recommendations. Please feel free to ask specific questions about this product for more detailed information. i
how to get prodct support? | NP0006 | Here is the contact information to reach our team. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
Certificates for MYP91T1 | NP0006 | Certificates (5 matches) Lot # Certificate Type Date Catalog Number(s) 3268014 Certificate of Analysis Sep 08, 2025 NP00061 TFRS1ZOMP Certificate of Analysis Sep 03, 2025 NP0006 TFQAMOLFB Certificate of Analysis Sep 02, 2025 NP0006 TFRSHBWU4 Certificate of Analysis Aug 31, 2025 NP0006 TFRSWNZXP Certificate of Analysis Aug 30, 2025 NP0006 Here are the 5 latest certificate(s). If you can't find the one you're looking for, please provide the LOT number below.
SDS | NP0006 | I found the following safety_data_sheets for NP0006 Safety Data Sheets (1 matches) NP0006
Certificates for 2908147 | NP0006 | I found the following certificates for NP0006 Certificates (1 matches) Lot # Certificate Type Date Catalog Number(s) 2908147 Certificate of Analysis May 16, 2024 NP0006
Can I know the stauts of my order placed 2 days ago | NP0006 | Sorry, I can only assist with product-related inquiries. Please contact our online order support team or click the red chat icon on that page for further assistance with any order related inquiries. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
how to request for a quote for a bulk order? | NP0006 | We have live representatives available now that can assist you with the inquiry! Connect with them by selecting the team available in the open chat window to get started.
Can I sue you if you give wrong responses | NP0006 | It seems that some of the language being used is inappropriate. Please continue our interaction respectfully. If you need immediate help, please contact our customer support team.
protein staructure | NP0006 | Protein Structure Information The molecular weight of a protein can be determined based upon its relative mobility by constructing a standard curve with protein standards of known molecular weights. The protein mobility in SDS-PAGE gels is dependent on the: Length of the protein in its fully denatured state, SDS-PAGE buffer systems, and Secondary structure of the protein. The same molecular weight standard may have slightly different mobility, resulting in different apparent molecular weight when run in different SDS-PAGE buffer systems. When using SDS-PAGE for molecular weight determination, slight deviations from the calculated molecular weight of a protein (calculated from the known amino acid sequence) can occur due to the retention of varying degrees of secondary structure in the protein, even in the presence of SDS. This phenomenon is observed in highly organized secondary structures (collagens, histones, or highly hydrophobic membrane proteins) and in peptides, where the effect of local secondary structure becomes magnified relative to the total size of the peptide. Slight differences in protein mobilities also occur when the same proteins are run in different SDS-PAGE buffer systems. Each SDS-PAGE buffer system has a different pH, which affects the charge of a protein and its binding capacity for SDS. The degree of change in protein mobility is usually small in natural proteins but more pronounced with 'atypical' or chemically modified proteins such as pre-stained standards. Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 42, 44, 49) 2. Blocking Buffers for Western Blot and ELISA 3. Transfer Buffers for Western Blotting 4. Native PAGE Gels 5. NuPAGE Tris-Acetate Gels 6. NuPAGE Large Protein Analysis System (Page: 24)
dna | NP0006 | I didn’t understand your question. Let’s try this again. Could you please provide more details or clarify what you need help with?
Certificates for 2908140000 | NP0006 | Certificates (5 matches) Lot # Certificate Type Date Catalog Number(s) 3268014 Certificate of Analysis Sep 08, 2025 NP00061 TFRS1ZOMP Certificate of Analysis Sep 03, 2025 NP0006 TFQAMOLFB Certificate of Analysis Sep 02, 2025 NP0006 TFRSHBWU4 Certificate of Analysis Aug 31, 2025 NP0006 TFRSWNZXP Certificate of Analysis Aug 30, 2025 NP0006 Here are the 5 latest certificate(s). If you can't find the one you're looking for, please provide the LOT number below.
how to detect the binding between MGP and BMP-2 | NP0006 | Detection of Binding Between MGP and BMP-2 To detect binding between Matrix GLA protein (MGP) and bone morphogenetic protein-2 (BMP-2), immunoprecipitation can be performed using MGP and BMP-2 tagged with FLAG and c-Myc. The results showed co-precipitation of BMP-2 with MGP. For further details, refer to the publication: Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2 by Zebboudj Amina F, Imura Minori, and Boström Kristina, published in J Biol Chem. PubMed ID: 11741887. Sources 1 Additional Data & References 1. Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2. 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. NuPAGE Tris-Acetate Gels 4. Native PAGE Gels 5. NuPAGE Technical Guide (Page: 36, 46) 6. Blocking Buffers for Western Blot and ELISA 7. FAQ:Is the NuPAGE Transfer buffer compatible with N-terminal sequencing of proteins via Edman degradation?
How to generate the web quote | NP0006 | Sorry, I can only assist with inquiries related to this specific product. Please contact Customer Service or visit Generate a Web Quote page for further assistance. How can we help? Customer Service 1800 419 5433 mail.sa@thermofisher.com Technical Support 1800 419 5433 Contact Technical Support Instrument Service 1800 419 5433 india-info@thermofisher.com
How to generate the web quote | A57621 | We have agents available now that can assist you with this query! Please connect with them by selecting the team available in the open chat window to get started.
compare with Nupage products | NP0002 | Attribute NP0002 NP000202 Product Title NuPAGE™ MES SDS Running Buffer (20X) NuPAGE™ MES SDS Running Buffer (20X), 5 L Catalog Number NP0002 NP000202 Product Size Each Each Quantity 500 mL 5 L Price $112.00 USD $800.65 USD Availability In Stock In Stock i
is 3500 better? | NP0002 | Comparing NP0002 and 3500: Attribute NP0002 3500 Product Title NuPAGE™ MES SDS Running Buffer (20X) HLT 10 MICROPOINT BULK NST 100 Catalog Number NP0002 3500 Product Size Each Case of 10000 Price $112.00 USD Price not available Loyalty Aspire Eligible True False Recurring Order Eligible True False Availability In Stock Price not available Note: The suitability of NP0002 or 3500 depends on your specific requirements and application. NP0002 is a running buffer, while 3500 is a bulk product with different specifications and use cases. i
shipping condition of NP0004 | Np0006 | Shipping Conditions for NP0004 The NuPAGE Sample Reducing Agent (500 mM dithiothreitol) is shipped under wet ice conditions. Additional Data & References 1. FAQ:How should I store the NuPAGE Sample Reducing agent and NuPAGE Antioxidant? 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. Immunoprecipitation using Protein A - 10006D 4. Immunoprecipitation using Protein G - 10007D 5. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1, 1, 4) 7. Protein Electrophoresis Buffers and Reagents
sds of NP0007 | NP0006 | I found the following safety_data_sheets for NP0007 Safety Data Sheets (1 matches) NP0007
how to store this product? | NP0006 | Storage Conditions for NP0006 The NuPAGE Transfer Buffer (20X) should be stored at room temperature. It is guaranteed to be stable for 6 months unless otherwise specified in the product literature. Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 38, 48) 2. Western Blot Protocols and Recipes 3. Western Blot Sample Preparation Protocol 4. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 5. NuPAGE Large Protein Analysis System (Page: 4, 31)
Hi How are you? | NP0001 | Welcome! How may I help you today?
You are an excellent bot | NP0001 | Thank you! We're glad the information was helpful. Let us know if you need anything else.
I am not sure, if you are correct | NP0001 | We appreciate your feedback and apologize for any inconvenience.
what is the price of 10 of this product | NP0001 | The price of one unit of NP0001 (NuPAGE™ MOPS SDS Running Buffer (20X)) is $114.00 USD. For 10 units, the total price would be $1140.00 USD. i
are there any flyers available? | A45206 | I found the following Flyers for A45206 Scientific Resources (1 matches) Flyer: SYBR Safe DNA Gel Stain - An alternative to ethidium bromide stain
Is Ethidium bromide hazardous? | A45206 | Hazards of Ethidium Bromide Ethidium bromide has been commonly used as a DNA stain for many years. However, it is harmful if swallowed and very toxic if inhaled. In powder form, it is considered an irritant to the eyes and upper respiratory tract. Ethidium bromide has been shown to be mutagenic in various in vitro assays and is an aquatic toxin. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) A42136 Sources 1 2 Additional Data & References 1. SYBR® Safe DNA Gel Stain - Green Fact Sheet (Page: 1, 2) 2. Flyer: SYBR Safe DNA Gel Stain - An alternative to ethidium bromide stain (Page: 1) 3. User Guide: E-Gel Power Snap Electrophoresis System (Page: 7, 45, 49, 50) 4. FAQ:How should I dispose of SYBR Safe DNA Gel Stain and E-Gels containing SYBR Safe DNA Gel Stain?
What are the main challenges associated with cfDNA library preparation? | A43605024 | Main Challenges Associated with cfDNA Library Preparation cfDNA extraction and library preparation for next-generation sequencing (NGS) is challenging due to the following reasons: Limited Quantities: Only very limited quantities of material are present in blood samples available for research, and the DNA is degraded. Variation in cfDNA Amount: There is considerable variation in the amount of cfDNA depending on the sample type, complicating workflow standardization. gDNA Contamination: Genomic DNA (gDNA) from white blood cells can be present in plasma samples due to mechanical damage caused during sample processing and storage. Low Quality of Input Material: cfDNA is often degraded due to apoptosis and exposure to conditions in peripheral circulation. Efficient and reproducible extraction of cfDNA is essential to the performance of liquid biopsy samples in oncology research. Sources 1 Additional Data & References 1. Application note: Library preparation from circulating cell-free DNA (Page: 1, 2, 4) 2. Tech Note: Scaling library preparation and maintaining quality (Page: 1, 2) 3. Tech Note: Impact of GC bias on library preparation (Page: 1) 4. User Guide: Collibri ES DNA Library Prep Kit for Illumina (Page: 15) 5. FAQ:How do I assess the quality of the prepared Collibri DNA library?
what are the problems posed by GC bias? | A43605024 | Problems Posed by GC Bias GC bias is a significant issue in next-generation sequencing (NGS) library preparation, particularly when using PCR-based methods. The main problems posed by GC bias include: Uneven Coverage: GC bias leads to uneven coverage of the genome, which can affect the accuracy of sequencing results. Taxonomic Representation: In microbiome studies, GC bias can cause significant variation in taxonomic representation, hindering accurate analysis. De Novo Genome Assembly: GC bias complicates de novo genome assembly and single-nucleotide polymorphism (SNP) discovery. Amplification-Related Artifacts: PCR amplification can introduce artifacts such as template switching and polymerase errors, further reducing library quality. Data Analysis Challenges: GC bias poses serious challenges for data analysis, particularly in regions with extreme GC content. Using PCR-free library preparation methods or optimizing PCR conditions can help minimize GC bias and improve the quality of sequencing data. Sources 1 2 3 Additional Data & References 1. Tech Note: Scaling library preparation and maintaining quality (Page: 1, 3) 2. Tech Note: Impact of GC bias on library preparation (Page: 1, 2, 5) 3. Tech Note: Factors for consideration in de novo sequencing (Page: 2) 4. Brochure: Collibri NGS library preparation kits for high-throughput Illumina systems (Page: 8, 9)
why the selection of NGS library preparation materials that accurately cover these difficult regions is crucial? | A43605024 | Importance of Selecting NGS Library Preparation Materials The selection of next-generation sequencing (NGS) library preparation materials that accurately cover difficult regions is crucial because: Equal Coverage: NGS requires equal coverage of all diverse regions in the human genome, especially those with extreme GC or AT content. Regulatory Elements: Regions with extreme GC or AT content contain many regulatory elements that are important for understanding the molecular basis of diseases. Scientific Validity: Proper representation of GC-rich and GC-poor regions is essential for the scientific validity of NGS results. Balanced Amplification: Accurate library preparation materials help achieve balanced amplification, minimizing loss of GC-rich regions. Using appropriate NGS library preparation materials ensures comprehensive and reliable sequencing data, which is vital for investigating the molecular basis of diseases. Sources 1 Additional Data & References 1. Tech Note: Impact of GC bias on library preparation (Page: 1, 4) 2. Tech Note: Scaling library preparation and maintaining quality (Page: 1) 3. Protocol for Collibri NGS of SARS-CoV-2 4. Collibri NGS Whole-Genome Library Prep Kits 5. User Guide: Collibri ES DNA Library Prep Kit for Illumina (Page: 15) 6. Tech Note: DNA fragmentation strategies for next-generation sequencing library preparation (Page: 1) 7. Collibri NGS Whole-Genome Library Prep Kits for Physically Sheared DNA
What is the significance of acetate in environmental processes? | IQLAAMGAATFARBMBNP | Significance of Acetate in Environmental Processes Acetate is an important organic molecule in environmental processes, serving as a key intermediate in the degradation of organic matter (plants, cells, etc.) to greenhouse gases. It is rapidly cycled by microbial communities in the environment, resulting in low concentrations that make it challenging to investigate its flux in biogeochemical cycles. This can be addressed using naturally occurring stable isotopes as a tool to quantify acetate cycling. The carbon and hydrogen isotope fingerprint of acetate can constrain its metabolic sources and the mechanisms of organic remineralization in anoxic settings. Sources 1 Additional Data & References 1. Technical note: Isotope ratio analysis of acetate using Orbitrap Exploris Isotope Solutions (Page: 1, 3, 4, 5, 6)
What is the main purpose of the Sarasota CM515 Density Converter? | 15472 | Main Purpose of Sarasota CM515 Density Converter The Sarasota CM515 Density Converter is designed for converting density measurements in liquid and gas applications. It provides accurate and reliable density conversion for various industrial processes. Sources 1 2 3 4 Additional Data & References 1. Sarasota CM515 - User Guide for Liquid Applications (Page: 1, 3) 2. Sarasota CM515 User Guide for Liquid Applications - User Manual (Page: 1, 3) 3. Sarasota CM515 for Gas Applications (Page: 1, 3) 4. Sarasota CM515 for Gas Applications - User Manual (Page: 1, 3)
what are iConnect Column Lock connectors | MI-148000-0008 | iConnect Column Lock Connectors Our TRACE 1600 Series GC systems are equipped with instant connect (iConnect) Column Lock connectors that simplify capillary column installation, eliminating the risk of over tightening and assuring quick and leak-free operations. They enable finger-tight connections to be achieved in a simple click and allow capillary column length adjustments to be made before installation. iConnect Column Lock connectors are also compatible with iConnect SSL injectors and all iConnect detector modules, as well as with the Thermo Scientific TriPlus 500 Headspace Autosampler interface. Finger-tight connections with a simple click, allowing capillary column length adjustments to be made before installation. Sources 1 2 3 Additional Data & References 1. Gas Chromatography System Features 2. Product Spotlight: Ensuring analytical testing efficiency through modular gas chromatography (Page: 3) 3. Brochure: Thermo Scientific TRACE 1600 Series GC and AI/AS 1610 Liquid Autosampler (Page: 2, 4) 4. Technical Note: Robust and user-friendly backflush technology reduces GC maintenance and maximizes laboratory throughput (Page: 2, 3, 4) 5. iConnect Modules for TRACE 1300 and 1600 Series GC (Page: 1)
how many nasel swabs were plated on each test medium and examined after each overnight? | R01822 | Nasal Swabs Plated on Each Test Medium A total of 670 nasal swabs were plated on each test medium and examined after overnight (16 to 24 hours) incubation. Sources 1 Additional Data & References 1. Evaluation of a Novel Agar Medium from Remel to Screen for Methicillin Resistant Staphylococcus aureus (Page: 1, 2, 3) 2. Comparison of Four Media for the Detection of Methicillin-Resistant Staphylococcus aureus (MRSA) from Nasal Swabs (Page: 1, 2, 3) 3. Spectra MRSA (Page: 1, 2)
What are some of the common Python packages included in the AutoScript package? | AUTOSCRIPT4 | Common Python Packages Included in AutoScript AutoScript is built upon Python 3.5 and includes a number of pre-installed libraries for scientific computing, data analysis, data visualization, image processing, and machine learning.
Physical and Chemical Characteristics RINGERS SOLUTION BR0052G ? | BR0052G | Physical and Chemical Characteristics of Ringers Solution BR0052G Characteristic Details Tablet colour White Average tablet weight 1.140 - 1.260g No more than 10% of tablets outside 1.110 - 1.290g with none outside 1.080 - 1.320g Tablet pressure Greater than or equal to 10kp Clarity (soln.) Clear Moisture level Less than or equal to 1.6% Chloride content (as NaCl) 96.5% Sources 2 3 Additional Data & References 1. MBD_BT_IFU-0700 BR0052G - Ringers Solution - Oxoid Ltd.pdf (Page: 1, 4, 10, 13, 14, 23) 2. Product Specification: Ringers Solution (Page: 1) 3. Ringers Solution (Page: 1)
how to test the robustness of Crt method? | 4469605 | Testing the Robustness of the Crt Method To test the robustness of the Crt method, thousands of individual Applied Biosystems™ TaqMan™ Assays were run on the OpenArray platform, and the Crt and Ct values generated for each through-hole were compared. Crt values spanned ~10 log units (-4 to -37) and included hundreds of targets. Strong correlation (R2 = 0.9891) was seen for the two sets of Crt values, indicating that the two methodologies give comparable Crt values across a large dynamic range. Although correlation in the high Crt range is very good, for gene expression analysis we recommend removing Crt values ≥28 (Crt = 28 is ~1 copy) to avoid results that may be stochastic. Sources 1 Additional Data & References 1. Crt, a relative threshold method for qPCR data analysis on the QuantStudio™ 12K Flex system with OpenArray® technology (Page: 1, 2, 3) 2. User Guide: QuantStudio 12K Flex Real-Time PCR System: OpenArray Experiments (Page: 73, 75, 151, 219, 228)
looking for brochures and How does the SECURE-Spin mode support data management compliance and traceability? | 75009240 | I found the following Brochures for 75009240 Scientific Resources (1 matches) Sorvall GP Pro and Plus Centrifuge Series Brochure
what information you can provide? Can you provide the protocol? | g401001 | Protocol for Running E-Gel EX Gels for RNA Samples on the E-Gel PowerSnap Electrophoresis System Yes, the protocol for running E-Gel EX gels for RNA samples on the E-Gel PowerSnap Electrophoresis System can be found in the E-Gel Power Snap Electrophoresis System User Guide, on page 46 under Appendix E. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Gel Electrophoresis and Blotting Support Center. Protocol for Transferring RNA from E-Gel EX Agarose Gels for Northern Blotting Here is a suggested protocol: Prewet a nylon membrane suitable for use with RNA using 5X SSC buffer. Using the E-Gel Opener, remove the E-Gel Agarose Gel from the cassette. Soak gel 2 times for 10 minutes in 5X SSC, 10 mM NaOH at room temperature. Using standard techniques, assemble a capillary transfer device using 5X SSC, 10 mM NaOH as the transfer buffer. Transfer should be complete after 2 hours. Remove the membrane from the transfer setup. Rinse the membrane for 5 minutes in 5X SSC. Place the membrane on filter paper to dry (2-4 minutes). Bake the membrane for 30 minutes at 80°C under vacuum or fix RNA to the membrane using a UV crosslinker. Place the membrane between two pieces of blotting paper and seal in a hybridization bag. Store in a cool dry place. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Purification and Analysis Support Center. Protocol for RNA Electrophoresis on E-Gel Agarose Gels Our E-Gel agarose gels can be used for either DNA or RNA separation. RNA separation occurs under non-denaturing or denaturing conditions. Please note, our gels are not QC tested for the presence of RNases. See our suggestions below for running your non-denaturing or denaturing samples: Non-denaturing conditions Mix RNA sample with 15 µL of RNase-free water. Do not heat. Load the entire sample onto the E-Gel agarose gel. Electrophorese for 30 min. Denaturing conditions Mix 15 µL of RNA loading buffer with 1-5 µL of RNA (1-5 µg). Heat samples at 65 degrees C for 10 min to denature RNA. Place samples on ice immediately after heating. Load entire sample onto E-Gel agarose gel. Electrophorese for 30 min. Note: The only denaturing agent that is compatible with the E-Gel system is formamide, 50-95%. Heating the sample for 5 min at 65 degrees C should be sufficient for denaturing. Using other denaturing agents like glyoxal, formaldehyde, or urea will result in very poor separation and band morphology on E-Gel agarose gels. Additionally, we do not recommend running samples with RNA loading buffer on the same gel as samples loaded with water. E-Gel EX Double Comb agarose gels and E-Gel Double Comb agarose gels with SYBR Safe stain have not been tested for use in RNA applications. Find additional tips, troubleshooting help, and resources within our Nucleic Acid Purification and Analysis Support Center. Sources 1 3 4 Additional Data & References 1. FAQ:Can you provide me with the protocol to run E-Gel EX gels for RNA samples on the E-Gel PowerSnap Electrophoresis System? 2. User Guide: E-Gel Power Snap Electrophoresis System (Page: 2, 3, 17, 19) 3. FAQ:Do you have a protocol for transferring RNA from my E-Gel EX Agarose Gels for Northern blotting? 4. FAQ:Do you have a protocol for RNA electrophoresis on your E-Gel agarose gels? 5. Quick Ref: E-Gel® EX Agarose Gel (Page: 1)
what is the transfection procedure for Optifect™ Reagent? | 12579017 | Transfection Procedure for Optifect™ Reagent 1. For each transfection sample, prepare complexes as follows: a. Dilute 0.8–1.2 µg of DNA in 50 µL of Opti-MEM® I Reduced Serum Medium without serum. Mix gently. b. Mix OptiFect™ Reagent gently before use, then dilute 1–4 µL in 50 µL of Opti-MEM® I Medium. Mix gently and incubate for 5 minutes at room temperature. Note: Combine diluted OptiFect™ Reagent with diluted DNA within 30 minutes. c. After 5 minute incubation, combine the diluted DNA with diluted OptiFect™ Reagent (total volume = 100 µL). Mix gently and incubate for 20 minutes at room temperature (solution may appear cloudy). Note: Complexes are stable for 6 hours at room temperature. d. Add the 100 µL of complexes to a well containing cells and medium. Mix gently by rocking the plate back and forth. e. Incubate cells at 37°C in a CO₂ incubator for 24–72 hours prior to testing for transgene expression. It is not necessary to change the medium, but medium may be replaced after 4–6 hours. Optimizing Transfection To obtain the highest transfection efficiency and low non-specific effects, it may be necessary to optimize transfection conditions. The optimal ratio of DNA (µg):OptiFect™ Reagent (µL) varies depending on the cell line and the type of transfection-mediated cytotoxicity (e.g. HeLa, HT1080); use the following ranges of OptiFect™ Reagent suggested in the table on page 4 (see column 5). Sources 2 Additional Data & References 1. Optifect Transfection Reagent (Page: 1, 2, 3, 4) 2. Optifect Reagent (Page: 1, 3, 4) 3. Optifect™ Transfection Reagent
what are the methodologies used for staining? | NP00061 | Methodologies Used for Staining Several methodologies are used for staining, including: Coomassie Staining Colloidal Blue Staining Kit Protocol for NuPAGE® Novex® Tris-Acetate Gels: Incubate the gel in Staining Solution for a minimum of 3 hours and a maximum of 12 hours at room temperature with gentle shaking. Decant the Staining Solution and add at least 200 mL of deionized water per gel to the staining container. Gently shake the gel in water for at least 7 hours. The gel background should be clear after 7 hours in water. For gel-drying, see page 28. Colloidal Blue Staining Kit Protocol for NuPAGE® Novex® Bis-Tris Gels: Incubate the gel in Fixing Solution for 10 minutes at room temperature with gentle shaking. Incubate the gel in this Staining Solution (without Stainer B) for 10 minutes at room temperature with gentle shaking. Add 5 mL Stainer B per gel to the Staining Solution from previous step. Continue staining for a minimum of 3 hours and a maximum of 16 hours. Decant the Staining Solution and add 200 mL of deionized water per gel to the staining container. Gently shake the gel in water for at least 7 hours. The gel background should be clear after 7 hours in water. For gel-drying, see page 28. Note: NuPAGE® Gels can be left in deionized water for up to 3 days without significant change in band intensity and background clarity. For long-term storage (over 3 days), keep the gel in a 20% ammonium sulfate solution at 4°C. Silver Staining SilverQuest™ Microwave Silver Staining Protocol: After electrophoresis, place the gel in a clean microwaveable staining tray of the appropriate size. Rinse the gel briefly with ultrapure water. Place the gel in 100 mL of fixative and microwave at high power (700 watts) for 30 seconds. Remove the gel from the microwave and gently agitate it for 5 minutes at room temperature. Decant the fixative. Wash the gel with 100 mL of 30% ethanol in a microwave at high power for 30 seconds. Remove the gel from the microwave and gently agitate it for 5 minutes at room temperature on a rotary shaker. Decant the ethanol. Add 100 mL of Sensitizing solution to the washed gel. Microwave at high power for 30 seconds. Remove the gel from the microwave and place it on a rotary shaker for 2 minutes at room temperature. Decant the Sensitizing solution. SimplyBlue™ SafeStain Basic Protocol: Rinse the mini-gel 3 times for 5 minutes with 100 mL deionized water to remove SDS and buffer salts, which interfere with binding of the dye to the protein. Discard each rinse. Stain the mini-gel with enough SimplyBlue™ SafeStain (~20 mL) to cover the mini-gel. Stain for 1 hour at room temperature with gentle shaking. Bands will begin to develop within minutes. After incubation, discard the stain. Do not re-use the stain. Wash the mini-gel with 100 mL water for 1-3 hours. The gel can be left in the water for several days without loss of sensitivity. SYPRO® Ruby Staining SYPRO® Ruby Rapid Protocol: After electrophoresis, place the gel into a clean a microwavable container with 100 mL of Fix Solution and agitate on an orbital shaker for 15 minutes. Pour off the used fix solution and repeat once more with fresh Fix Solution. Pour off the used fix solution. Add 60 mL of SYPRO® Ruby gel stain to the tray containing the gel. Microwave 30 seconds, agitate 30 seconds to distribute heat evenly, then microwave another 30 seconds to reach 80–85°C, and agitate on an orbital shaker for 5 minutes. Reheat the gel by microwaving a third time for 30 seconds and then agitate on an orbital shaker for 23 minutes for a total stain time of 30 minutes. Transfer the gel to a clean container and wash in 100 mL of Wash Solution for 30 minutes. The transfer step is necessary to avoid heating the destain solution, which may reduce stain sensitivity, and also helps minimize background staining irregularities and stain speckles on the gel. Rinse the gel in ultrapure water for 5 minutes. Repeat the rinse a minimum of one more time to prevent possible corrosive damage to your imager. Note: If you are staining two gels, double the reagent volumes. Increase volumes 1.5-fold for 1.5mm thick gels. Heat the gel in the microwave on full power in increments of 30–45 seconds, until the stain reaches 80–85°C. Do not heat the fixative solution or other methanolic solutions in the microwave. Although SYPRO® Ruby stain solution is not flammable, use caution when microwaving SYPRO® Ruby stain as the solution becomes very hot. Sources 1 2 Additional Data & References 1. NuPAGE Technical Guide (Page: 21, 26, 27, 30, 41) 2. NuPAGE Large Protein Analysis System (Page: 22, 26, 27)
dilution | 34577 | Recommended Dilution Information for SuperSignal West Pico PLUS Chemiluminescent Substrate Primary antibody: 0.2 to 1.0 µg/mL (1:1000 to 1:5000 dilution from a 1 mg/mL stock) Secondary antibody: 10 to 50 ng/mL (1:20,000 to 1:100,000 dilution from 1 mg/mL stock) For optimal results, ensure that your western blot procedure is well-optimized, including sample amount, gel type, transfer method, membrane type, blocking reagent, wash buffer, and incubation times. Sources 1 3 5 Additional Data & References 1. FAQ:What is the recommended dilution range for SuperSignal West Pico PLUS Chemiluminescent Substrate? 2. Antibodies for Western Blotting 3. ECL Western Blot Substrates 4. Chromogenic Western Blot Detection 5. User Guide: SuperSignal West Pico PLUS Chemiluminescent Substrate (Page: 1) 6. Chemiluminescent Western Blot Detection 7. Brochure: Western workflow overview brochure (Chinese) (Page: 23, 45)
What are the different gel formulations available for NuPAGE® Novex® Pre-Cast Gels? What additional equipment is recommended for Western blotting using NuPAGE® Gels? | NP00061 | NuPAGE® Novex® Pre-Cast Gel Formulations The NuPAGE® Novex® Pre-Cast Gels are available in different acrylamide concentrations. The formulations are as follows: Gel Type Formulation Stacking Gel Separating Gel pH NuPAGE® Novex® Bis-Tris Gels Bis-Tris-HCl buffer (pH 6.4), Acrylamide, Bis-acrylamide, APS, Ultrapure water 4% 10%, 12%, 4–12% 7.0 NuPAGE® Novex® Tris-Acetate Gels Tris-base, Acetic acid, Acrylamide, Bis-acrylamide, TEMED, APS, Ultrapure water 3.2% 7%, 3–8% 8.1 Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 3, 5, 8, 9, 11, 12, 27) 2. NuPAGE Large Protein Analysis System (Page: 9)
is this product hazardous? | NP0006 | Hazard Information for NuPAGE Transfer Buffer (20X) Warning: This product contains a chemical (acrylamide) known to the state of California to cause cancer. Gloves should be worn at all times when handling gels. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) NP0006 Sources 1 Additional Data & References 1. NuPAGE Technical Guide (Page: 1, 5, 48, 56) 2. NuPAGE Large Protein Analysis System (Page: 4, 32) 3. Western Blot Sample Preparation Protocol 4. Western Blot Protocols and Recipes
what should I do if this accidentally gets in my eyes? | B153 | I was unable to find specific information on what to do if bis-ANS gets in your eyes. Refer to the Safety Data Sheet (SDS) for detailed safety information. Please contact our Technical Support Team. Safety Data Sheet (1 matches) B153 Sources i Additional Data & References 1. Conformational properties of substrate proteins bound to a molecular chaperone alpha-crystallin. 2. Other Nonpolar and Amphiphilic Probes—Section 13.5 3. Probes for Tubulin and Other Cytoskeletal Proteins—Section 11.2 4. Binding of recrystallized and chromatographically purified 8-anilino-1-naphthalenesulfonate to Escherichia coli lac repressor. 5. Temperature-induced exposure of hydrophobic surfaces and its effect on the chaperone activity of alpha-crystallin. 6. Recoverin is a zinc-binding protein. 7. Interaction of 1,1'-bi(4-anilino)naphthalene-5,5'-disulfonic acid with alpha-crystallin. 8. Heat-induced conformational change of human lens recombinant alphaA- and alphaB-crystallins. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
Can i consume this? | B153 | Consumption of Bis-ANS Bis-ANS is intended for research use only and is not for use in diagnostic procedures. It should not be consumed or ingested under any circumstances. Refer to the Safety Data Sheet (SDS) for detailed safety information. Safety Data Sheet (1 matches) B153 Additional Data & References 1. Probes for Tubulin and Other Cytoskeletal Proteins—Section 11.2 2. Other Nonpolar and Amphiphilic Probes—Section 13.5 3. Proteolytic digestion of alpha-lactalbumin: physiological implications. 4. Spare Parts List for the SOLA II And SOLA II Trace Sulfur Online Analyzer (Page: 4) 5. cDNA cloning and expression of the human hepatic bile acid-binding protein. A member of the monomeric reductase gene family. 6. Selective adsorption of bis(1-anilino-8-naphthalenesulfonate) to the multiple forms of lactic dehydrogenase. 7. 4,4'-Bis[8-(phenylamino)naphthalene-1-sulfonate] binding to human thrombins: a sensitive exo site fluorescent affinity probe. 8. Aluminum fluoride interactions with troponin C.
What are the optimal run times for gels using MES and MOPS Running Buffers? | NP0007 | Optimal Run Times for Gels Using MES and MOPS Running Buffers For NuPAGE Bis-Tris Gels: MES Running Buffer: Run for 35 minutes at 200 V constant. MOPS Running Buffer: Run for 50 minutes at 200 V constant. Sources 3 4 Additional Data & References 1. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 2. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 2, 2) 4. NuPAGE Technical Guide (Page: 9, 13, 18, 46) 5. Protein Electrophoresis Buffers and Reagents
Can I fix the cells after staining? | l7526 | Fixing Cells After Staining with LysoTracker Green DND-26 LysoTracker Green DND-26 is a non-fixable dye, meaning it is not suitable for fixing cells after staining. This dye is designed for live-cell staining and tracking of acidic organelles such as lysosomes. For more information, you can visit our Cell Analysis Support Center. Additional Data & References 1. Probes for Lysosomes, Peroxisomes and Yeast Vacuoles—Section 12.3 2. LysoTracker and LysoSensor Probes (Page: 1, 2, 3, 4) 3. FAQ:What is the recommended incubation time for LysoTracker Green DND-26 (Cat. No. L7526) and LysoSensor Yellow/Blue DND-160 (Cat. No. L7545)?
how to use the SimplyBlue™ SafeStain? | NP0006 | Using SimplyBlue™ SafeStain Introduction The NuPAGE® Large Protein Staining Kit includes the reagents to perform electrophoresis and staining with SimplyBlue™ SafeStain. SimplyBlue™ SafeStain is a ready-to-use, proprietary Coomassie G-250 stain that is specially formulated for fast, sensitive detection and safe, non-hazardous disposal. Proteins stained using SimplyBlue™ SafeStain are compatible with mass spectrometry (MS) analysis. Basic Protocol Rinse the mini-gel 3 times for 5 minutes with 100 mL deionized water to remove SDS and buffer salts, which interfere with binding of the dye to the protein. Discard each rinse. Stain the mini-gel with enough SimplyBlue™ SafeStain (~20 mL) to cover the mini-gel. Stain for 1 hour at room temperature with gentle shaking. Bands will begin to develop within minutes. After incubation, discard the stain. Do not re-use the stain. Wash the mini-gel with 100 mL water for 1-3 hours. The gel can be left in the water for several days without loss of sensitivity. Microwave Protocol After electrophoresis, place the gel in 100 mL deionized water in a loosely covered container and microwave on High (950 to 1100 watts) for 1 minute until the solution almost boils. Shake the gel on an orbital shaker for 1 minute. Discard the water. Repeat Steps 1-2 two more times. After the last wash, add 20 mL SimplyBlue™ SafeStain and microwave on High for 45 seconds to 1 minute until the solution almost boils. Shake the gel on an orbital shaker for 5 minutes. (Detection limit 20 ng BSA.) Wash the gel in 100 mL of ultrapure water for 10 minutes on a shaker. (Detection limit 10 ng BSA.) Add 20 mL of 20% NaCl for at least 5 minutes. (Detection limit 5 ng BSA.) The gel can be stored for several weeks in the salt solution. Disposal Information In most cases, the SimplyBlue™ SafeStain can be diluted 1:20 with water and flushed down the drain. Diluting the stain raises the pH to between 5 and 7, which complies with most federal and state regulations. For disposal requirements in your area, consult your safety officer. Drying the Gel The stained gel can be dried for storage or analysis by vacuum-drying or air-drying. We recommend using the DryEase™ Mini-Gel Drying System to air-dry the gel. When using the DryEase™ Mini-Gel Drying System, be sure to restrict the incubation time of your SimplyBlue™ SafeStain stained gel in the Gel-Dry™ Drying Solution to 5 minutes because longer exposure can result in destaining of bands. Sources 1 Additional Data & References 1. NuPAGE Large Protein Analysis System (Page: 8, 21, 22, 23, 24, 29) 2. NuPAGE Technical Guide (Page: 24, 25)
four polyacrylamide concentrations of NuPAGE Bis-Tris protein gels | NP0336BOX | Polyacrylamide Concentrations of NuPAGE Bis-Tris Protein Gels The NuPAGE Bis-Tris protein gels come in four polyacrylamide concentrations: 8% 10% 12% 4-12% gradient Sources 1 2 3 4 5 6 7 8 Additional Data & References 1. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1) 2. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 3. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 4. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 5. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 6. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 7. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm 8. NuPAGE™ Bis-Tris Mini Protein Gels, 4–12%, 1.0–1.5 mm
Can you provide solubility information for np0002? | NP0002 | Solubility Information for NuPAGE MES SDS Running Buffer (20X) The NuPAGE MES SDS Running Buffer (20X) is soluble in water. Additional Data & References 1. Quick Reference: NuPAGE Bis-Tris Mini Gels (Page: 1, 1, 3, 3) 3. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 4. Protein Electrophoresis Buffers and Reagents 5. FAQ:Can I use NuPAGE Bis-Tris gels with NuPAGE MOPS or MES Running Buffer prepared without SDS for electrophoresis under native conditions? 6. FAQ:Are the NuPAGE MOPS and MES SDS running buffers compatible with N-terminal sequencing of proteins via Edman degradation?
porqu{e necesito amplificar el DNA donor | a53815 | Razón para amplificar el ADN donante La amplificación del ADN donante es necesaria para generar una cantidad suficiente de ADN de doble cadena lineal (dsDNA) con los brazos de homología específicos del gen deseado. Este proceso asegura que haya suficiente material genético para la transfección y la edición del genoma. El protocolo de amplificación del ADN donante TrueTag™ incluye la configuración de reacciones de PCR y la confirmación de la reacción exitosa mediante electroforesis en gel de agarosa. Esto garantiza que el ADN donante tenga el tamaño de banda correcto para diferentes tipos de donantes TrueTag™. Para más detalles, consulte la documentación del producto. Sources 1 2 Datos Adicionales y Referencias 1. User Guide: TrueTag DNA Donor Kit (Page: 3, 27, 37, 38, 40, 51) 2. Flyer: True story: There's an easier way to tag and enrich cells (Page: 2) 3. Workflow guide for using the TrueTag Knockout Enrichment Kit for knockout cell line generation (Page: 4)
Was sind die Funktionen der QuantiGene Plex-Panels? | QGP-306-RATHKPANEL | Funktionen der QuantiGene Plex Panels Die QuantiGene Plex Panels bieten mehrere Funktionen, die für die Genexpressionsanalyse nützlich sind: Echte Multiplexing-Fähigkeit — Messen Sie mehrere Gene von Interesse und Haushaltsgene im selben Well ohne Kreuzreaktivität. Anpassung an schwierige Probentypen — Funktioniert mit degradierten und vernetzten RNA in FFPE-Geweben und Blut. Standardisierte Plattform — Verwendet ein 96-Well-Format, das mit Luminex 200, FLEXMAP 3D und INTELLIFLEX-Systemen kompatibel ist (384-Well-Format auf Anfrage verfügbar). Einfacher Workflow — Verwendet einen ELISA-ähnlichen Workflow mit direkter Hybridisierung von Transkripten an Beads und Transkriptmarkierung (branched DNA-Signalamplifikation und PE-Auslesung). Anpassung mit validierten Zielen — Wenn alternative Ziele in diesem Panel benötigt werden, wählen Sie aus unserem großen Inventar von über 22.000 Genen, um benutzerdefinierte Forschungspanels zu erstellen. Schnelle Durchlaufzeit — Dieses Katalogpanel ermöglicht eine schnelle Lieferung. Ziele: Actb, Gapdh, Gusb, Hprt, Tbp, Ppib Panel- und Signalamplifikationstechnologie QuantiGene Plex Assays sind Hybridisierungs-basierte Assays zur direkten Quantifizierung von RNA direkt aus Zelllysaten, Gewebehomogenaten oder gereinigter RNA. Sie ermöglichen die Messung mehrerer Ziele im selben Well durch Multiplexing. QuantiGene Plex Panels enthalten zwei Komponenten: ein zielgerichtetes Sondenset und magnetische Fangbeads. Die zielgerichteten Sonden werden verwendet, um die interessierende RNA zu erfassen, und die branched DNA-Technologie verstärkt dann die Fluoreszenzsignale, die mit einem Luminex xMAP-Instrument ausgelesen werden. Die Intensität des Fluoreszenzsignals ist direkt proportional zur Menge an Ziel-mRNA, die in der Probe vorhanden ist. Dies ermöglicht die (relative) Quantifizierung der Genexpression und mit diesem spezifischen Panel die menschliche Immunprofilierung. Eine detaillierte und schrittweise Datenanalyse wird durch die QuantiGene Plex Datenanalyse-App erleichtert. Anwendungen Forschungsanwendungen des QuantiGene Plex Assays umfassen das Screening von Wirkstoffkandidaten, die Verifizierung von Biomarkern, die Bestimmung der siRNA-Knockdown-Effizienz, die prospektive und/oder retrospektive Analyse klinischer Proben, die Validierung von Mikroarrays, die prädiktive Toxikologieforschung und die Erkennung von Translokations-/Fusionsgenen. Im Allgemeinen kann jede Multiplex-Genexpressionsanalyse mit QuantiGene Plex Assays durchgeführt werden, unabhängig von Spezies oder Probentyp. Zusätzliche Daten & Referenzen 1. User Guide: QuantiGene Plex Gene Expression Assay (Page: 3, 5, 9) 2. User Guide: QuantiGene Plex Gene Expression Assay (Page: 1, 3, 5, 8, 32)
existe-t-il des listes de pièces disponibles | B153 | J'ai trouvé le suivant Part Lists pour B153 Product Information (1 matches) Spare Parts List for the SOLA II And SOLA II Trace Sulfur Online Analyzer
與 NP0006 比較 | NP0007 | 属性 NP0007 NP0006 产品名称 NuPAGE™ LDS Sample Buffer (4X) NuPAGE™ Transfer Buffer (20X) 目录编号 NP0007 NP0006 产品类型 LDS Sample Buffer Transfer Buffer 浓度 4X 20X 数量 10mL 125mL 价格 $23.46 USD $35.49 USD 储存条件 4°C to 25°C 室温 兼容胶类型 NuPAGE™ Gels NuPAGE™ Gels 运输条件 室温或湿冰 室温 保质期 未指定 6个月 库存状态 有库存 有库存 i
/ 제품 지원을 받으려면 어떻게 해야 하나요? | NP0007 | 팀에 연락할 수 있는 연락처 정보입니다. How can we help? Customer Service 800 955 6288 Customercare@thermofisher.com Technical Support 800 955 6288 Contact Technical Support Instrument Service 800 955 6288 Contact Instrument Service Sales Live Chat
MGPとBMP-2の結合を検出する方法 | NP0006 | MGPとBMP-2の結合の検出方法 MGPとBMP-2の結合を検出するために、FLAGとc-Mycでタグ付けされたMGPとBMP-2を使用して免疫沈降を行いました。結果は、MGPとBMP-2の共沈を示しました。 Binding Detection of MGP and BMP-2 To detect binding between MGP and BMP-2, we performed immunoprecipitation using MGP and BMP-2 tagged with FLAG and c-Myc. The results showed co-precipitation of BMP-2 with MGP. Sources 1 追加データと参考資料 1. Matrix GLA protein, a regulatory protein for bone morphogenetic protein-2. 2. NuPAGE Bis-Tris and Bolt Bis-Tris Plus Gels 3. NuPAGE Tris-Acetate Gels 4. Western Blot Buffers 5. Blocking Buffers for Western Blot and ELISA 6. Native PAGE Gels 7. NuPAGE Technical Guide (Page: 43) 8. NuPAGE Large Protein Analysis System (Page: 30)
list all the Vitamins and their Molecular weights? | 11012044 | Vitamins and Their Molecular Weights Choline chloride: 140.0 D-Calcium pantothenate: 477.0 Folic Acid: 441.0 Niacinamide: 122.0 Pyridoxal hydrochloride: 204.0 Riboflavin: 376.0 Thiamine hydrochloride: 337.0 i-Inositol: 180.0 Sources 1 Additional Data & References 1. https://www.thermofisher.com/us/en/home/technical-resources/media-formulation.205 (Page: 1) 2. Product Sheet: Media and Balanced Salt Solutions Preparation from Powder and Concentrates (Page: 1, 2, 3) 3. Cell Culture Media Preparation from Powder 4. FAQ:Where can I find media formulations? 5. FAQ:Where can I find the osmolality for MEM Medium? 6. FAQ:Do you have a comparison of dishes, culture plates, and flasks by surface area, seeding density, cells at confluency, and volumes of Versene solution, trypsin, and growth medium?
which is the lighteste amino acid present in this? | 31800022 | Lightest Amino Acid in RPMI 1640 Medium The lightest amino acid present in RPMI 1640 Medium is Glycine, with a molecular weight of 75.0. Sources 1 Additional Data & References 1. https://www.thermofisher.com/us/en/home/technical-resources/media-formulation.119 (Page: 1) 2. Cell Culture Media Preparation from Powder 3. Flyer: Gibco custom media manufacturing (Page: 1) 4. Product Sheet: Media and Balanced Salt Solutions Preparation from Powder and Concentrates (Page: 1, 2, 3) 5. FAQ:What is the density (g/L) for RPMI 1640 Medium? 6. FAQ:How light sensitive is RPMI 1640 media? Should I also be protecting it from LED light?

## Sheet4
Question | SKU | Expected Answer
How to link personal and business account? |  | Linking Your Personal and Business Accounts To link your personal and business accounts, follow these steps: Step 1: Create a Personal Account Hover over 'Sign In' at the top of the page and select 'Create Personal Account.' Fill out the form using your business email address and then select 'Create Account.' You will receive an email verification for security. Step 2: Create a Business Account Sign in to your personal account at the top of the page and open the 'My Account' menu. Select 'Upgrade to a Business Account.' You will then either link to an existing business account or register a new business account. To link to an existing business account, enter a new address to link to an existing business account. To register a new business account, complete the following fields: Billing Info: Provide billing address, contact details, and Federal Tax Number. Indicate if tax-exempt and upload relevant documents. Shipping Info: Provide shipping address and contact information. Representative: Include your Fisher Scientific Representative's name if applicable. Company Info: Answer questions about your company. Submit: Review, accept terms, and click 'Submit.' Sources 1 Additional Data & References 1. Creating an Account 2. Applying Contract Pricing 3. How to Upgrade to a Business Account
how to change my shipping address? |  | Changing Your Shipping Address To change your shipping address, follow these steps: Log in to your fishersci.com account. Navigate to 'My Account' on the top right of the webpage or from your Account Dashboard. Select 'Add New Address' from the dropdown menu. Complete and submit the Shipping Address section of the form. As you type, any existing accounts that match your address will appear for you to select. If no matches are found, a new account will be created for that delivery address. You can track all accounts on your Business Accounts page. Sources 1 Additional Data & References 1. Account Address Changes 2. Help & Support Center 3. Managing Subscription Orders
how to do fund tracking? if I am not an admin? How to use search? |  | Tracking Funds and Using the Search Function Tracking Funds As a fund administrator, you can use the Fund Tracking Dashboard to add new funds, view and edit existing funds, download spend reports, and browse detailed fund histories. Once funds are set up and users are assigned to them, users and approvers in your organization can view the details of these funds and allocate purchases to them. Using the Search Function To search for products, enter a keyword, catalog number, CAS number, or manufacturer part number in the search box located in the blue bar at the top of the site and either hit enter or click on the magnifying glass to the right of the box. You can narrow down your results by selecting one of the refinement filters from the left-hand side of your search results. Filters include category, special offers, special interest, and brands. Depending on the product category, other filters may appear such as capacity, material, and more. Sources 2 3 Additional Data & References 1. Help & Support Center 2. Tracking Funds 3. Understanding User Types 4. Using the User Management Dashboard
can I place orders without having an account? |  | Placing Orders Without an Account You can place orders directly through fishersci.com with or without an account. However, customers with a fishersci.com profile with a linked business account have access to a variety of powerful features that make ordering products fast and easy, including: Account-specific prices Real-time product availability Estimated delivery dates Online quotes Save and share product lists Secure payment options Learn how to create an account You can also place orders through your eProcurement system. Sources 3 Additional Data & References 1. Help & Support Center 2. Account & Settings 3. Orders & Returns 4. Viewing Orders Without Signing In 5. Ordering Through an eProcurement System 6. Creating an Account
How do I become an administrator? |  | To become an administrator for your organization’s business account, contact Website Support through the contact links on the Help and Support homepage below. FAQ: Creating User Groups
what is the price of NP0001 |  | This search is not yet optimized to provide product information, please feel free to ask specific questions about 'how to' topics such as accounts, documentation, quotes, and orders to name a few.
do you have customer care contact details? |  | Click here to access contact information to reach our team.
do you have manuals for 11960077 |  | I found the following Manuals for 11960077 Product Information (1 matches) Instructions for Use: DMEM (Dulbecco's Modified Eagle Medium)
How to login if i forgot my password? How to track my orders? |  | User is asking for assistance with logging in after forgetting their password. Resetting Your Password If you have forgotten your password, follow these steps to reset it: Sign in to your account and select Password and Security from the My Account dropdown. Scroll down to Change Password (hyperlink just below the current password field). You will be asked to confirm that you would like to change your password. You will then receive a 'Forgot Password' email. Once you receive the email, follow the prompt to update your password. Requirements for password strength: Must have at least one lower-case letter Must have at least one capital letter Must have at least one number Must have at least one special character Must not include spaces Must be at least 9 characters long Sources 2 Additional Data & References 1. Help & Support Center 2. Changing Your Password 3. Signing In and Account Protection 4. How to Upgrade to a Business Account 5. Tracking Funds 6. Changing Your Security Question LikeDislike Give feedback User is asking for assistance with tracking their orders. Tracking an Order To track your order, follow these steps: Navigate to the Order Status tool at the top of the website. Log in or enter your order number and ZIP code. Once you select an order, you will be brought to a page with your order details, including tracking information. For more detailed information, you can also visit the Tracking an Order page. Sources 1 7 Additional Data & References 1. Viewing Orders Without Signing In 2. Managing Subscription Orders 3. Ordering Through fishersci.com 4. Using My Lists 5. Returning an Order 6. Orders & Returns 7. Viewing Your Order History 8. Ordering Through an eProcurement System
do you have brochures and sds for NP0001 |  | User is requesting brochures and safety data sheets for NP0001. I found the following Brochures for NP0001 Scientific Resources (1 matches) Brochure: Nunc Cell Factory Systems LikeDislike Give feedback User is requesting brochures and safety data sheets for NP0001. I found the following safety_data_sheets for NP0001 Safety Data Sheets (2 matches) SampleSDS NP0001
SR0083A Certs |  | Certificates (5 matches) Lot # Certificate Type Date Catalog Number(s) 3578121 Certificate of Analysis Feb 20, 2023 SR0083A 3570166 Certificate of Analysis Dec 08, 2022 SR0083A 3517625 Certificate of Analysis Aug 30, 2022 SR0083A 3361555 Certificate of Analysis Nov 19, 2021 SR0083A 2175950 Certificate of Analysis May 21, 2021 SR0083A